## Table of contents
OPERATIONAL DATA PACK 2025
This presentation is for information purposes only and does not constitute an offer or solicitation to sell or buy instruments, part of the company or the assets described here, in the US or any other country.
This presentation contains forward-looking statements or information. While EDF believes that the expectations reflected in these forward-looking statements are based on reasonable assumptions at the time they were made, these assumptions are fundamentally uncertain and imply a certain amount of risk and uncertainty which is beyond the control of EDF. As a result, EDF cannot guarantee that these assumptions will materialise. Future events and actual financial and other outcomes may differ materially from the assumptions used in these forward-looking statements, including, and not limited to, potential timing differences and the completion of transactions described therein.
Risks and uncertainties (notably linked to the economic, financial, competition, regulatory and climate backdrop) may include changes in economic and business trends, regulations, as well as those described or identified in the publicly-available documents filed by EDF with the French financial markets authority (AMF), including those presented in Section 2.2 “Risks to which the Group is exposed” of the EDF Universal Registration Document (URD) filed with the AMF on 27 March 2025 (under number D.25-0183), which may be consulted on the AMF website at www.amf-france.org or on the EDF website at www.edf.fr and the activity report at 31 December 2024, available online on the EDF website.
EDF and its affiliates do not undertake nor do have any obligation to update forward-looking information contained in this presentation to reflect any unexpected events or circumstances arising after the date of this presentation.
1. Group installed capacity
Glossary & Methodology
5. Group output
4. Power Plants List and net capacity consolidated
3. Group Renewable installed capacity
2. EDF Nuclear fleet
6. Group CO2 emissions
Disclaimer

## 1.Group installed capacity
EDF group installed electricity capacity at 31 December 2025
Net installed electricity capacity (according to the participation in the subsidiaries, including participations in associates and joint ventures)
In MWe | Total | Nuclear(3) | Hydropower(4) | Renewables (excl. hydro)(5) | Gas | Fuel oil | Coal
France - Generation and supply activities | 88917.8912 | 62970 | 20353.7462 | 649.145 | 2515 | 1270 | 1160
France - Regulated activities(1) | 2064.0485 | 0 | 463.3837 | 229.0473 | 0 | 1354.0175 | 17.6
EDF power solutions | 18738.1243 | 145.2897 | 419.4911 | 16304.0657 | 1799.2777 | 70 | 0
Dalkia(2) | 1286.2352 | 0 | 0 | 233.7197 | 843.2238 | 197.6313 | 11.6604
United Kingdom | 5024.7179 | 4706.4 | 0 | 318.3179 | 0 | 0 | 0
Italy | 7012.0764 | 0 | 1070.2574 | 801.0499 | 5133.6757 | 7.0934 | 0
Others | 2988.55 | 1050 | 432 | 85.55 | 0 | 0 | 1421
Group total | 126031.6436 | 68871.6897 | 22738.8784 | 18620.8956 | 10291.1772 | 2898.7423 | 2610.2604
| 0 | 54.65% | 18.04% | 14.77% | 8.166% | 2.3% | 2.071%
Fully consolidated electricity capacity
In MWe | Total | Nuclear(3) | Hydropower(4) | Renewables (excl. hydro)(5) | Gas | Fuel oil | Coal
France - Generation and supply activities | 88072.7 | 62970 | 20115 | 42.7 | 2515 | 1270 | 1160
France - Regulated activities(1) | 1973.459 | 0 | 439.15 | 222.639 | 0 | 1311.67 | 0
EDF power solutions | 14855.597 | 211.7 | 67.8 | 12699.497 | 1876.6 | 0 | 0
Dalkia(2) | 1287.34 | 0 | 0 | 233.86 | 843.73 | 197.75 | 12
United Kingdom | 5883 | 5883 | 0 | 0 | 0 | 0 | 0
Italy | 7712.1576 | 0 | 901.7723 | 1519.8973 | 5283.188 | 7.3 | 0
Others | 35 | 0 | 0 | 35 | 0 | 0 | 0
Group total | 119819.2536 | 69064.7 | 21523.7223 | 14753.5933 | 10518.518 | 2786.72 | 1172
| 0 | 57.64% | 17.96% | 12.31% | 0.9781% | 2.326% | #REF!
(1) Regulated activities: Enedis, ÉS and island activities; Enedis, an independant EDF subsidiary as defined in the French energy code.
(2) Plants installed by Dalkia are mainly owned by the company, the corresponding capacities are consolidated using the equity method.
(3) This capacity includes Flamanville 3 for 1,600MW.
(4) Including small hydropower in France and assets in DROM and COM. Tidal energy included in the hydropower: 0.24GW.
(5) Wind, solar, biomass and geothermal
Fully consolidated electricity capacity
Net installed electricity capacity
18%
15%
8%
2%
2%
Group Total
126,0GW
55%
87% decarbonised
Nuclear
Gas
Renewables, excl. hydro
Hydro
Fuel oil
Coal
Group Total
119,8GW
2%
1%
57%
18%
13%
9%
88% decarbonised

## 2.EDF Nuclear fleet
EDF group nuclear fleet at 31 December 2025
Nuclear fleet in France
Type / Power | Plant | Power (in MW) | Number of reactors
900MW | Gravelines |  | 6
| Saint-Laurent |  | 2
| Dampierre |  | 4
| Chinon |  | 4
| Blayais |  | 4
| Bugey |  | 4
| Cruas |  | 4
| Tricastin |  | 4
| Total | 29010 | 32
1300MW | Penly |  | 2
| Paluel |  | 4
| Flamanville |  | 2
| Nogent-sur-Seine |  | 2
| Cattenom |  | 4
| Saint-Alban |  | 2
| Golfech |  | 2
| Belleville-sur-Loire |  | 2
| Total | 26370 | 20
1450MW | Chooz |  | 2
| Civaux |  | 2
| Total | 5990 | 4
EPR(3) | Flamanville 3 connected to the grid |  | 1
| Total | 1600 | 1
| Total France incl. Flamanville 3 | 62970 | 57
Nuclear fleet in the United Kingdom
Type | Plant | Power (in MW) | Number of reactors
AGR (1) | Torness | 1200 | 2
| Hartlepool | 1185 | 2
| Heysham | 2300 | 4
| Total | 4685 | 8
PWR (2) | Sizewell B | 1198 | 1
| Total | 1198 | 1
| Total UK | 5883 | 9
Nuclear fleet in Belgium
Type | Plant | Power (in MW)(4) | Number of reactors
PWR (3) | Tihange 3 | 72.61 | 1
| Doel 4 | 72.68 | 1
| Total Belgium | 145.29 | 2
New nuclear projects
Type | Plant | Power (in MW) | Number of reactors
EPR (3) | Hinkley Point C in construction (UK) | 3260 | 2
| Sizewell C (UK) | 3260 | 2
| EPR2 (France) | 9600 | 6
| Total | 16120 | 10
(1) Advanced Gas-cooled Reactor.
(2) Pressurised Water Reactor.
(3) European Pressurised Reactor.
(4) Capacity attributed to EDF according to its ownership in Luminus (68.63% of 10.2% in Tihange 3 and Doel 4)
Torness
Hartlepool
Heysham 1 & 2
Sizewell B
Advanced Gas-cooled Reactor (AGR)
Pressurised Water Reactor (PWR)

## 3.Group Ren. installed capacity
EDF group renewable installed capacity at 31 December 2025
In MW
Gross capacity: total capacity of the facilities in which the company has a stake |  |  |  |  | Objective: up to 6GW gross of renewable capacity commissioned/year by the Group on average over 2024-2035
Net capacity: capacity corresponding to the company stake(1)
EDF power solutions SA installed capacity by country and technology
| 4565700% |  | 4602200%
| Gross | Net | Gross | Net | ONSHORE WIND
Onshore wind
France | 1849 | 1645 | 1843.37 | 1627.0762
USA | 3527 | 2829 | 3527.1 | 2909.16 | 4565700% |  | 4602200%
Canada | 807 | 599 | 807.39 | 599.09
Mexico | 324 | 162 | 324 | 162 | Gross | Net | Gross | Net
North America | 4658 | 3590 | 4658.49 | 3670.25 | 13168.8 | 9403.0847 | 13770.8054 | 10041.1161
UK | 531 | 146 | 531.46 | 145.7547
Greece | 264 | 238 | 264.45 | 238.2007
Germany | 164 | 162 | 169.05 | 168.27
Poland | 68 | 68 | 68 | 68 | OFFSHORE WIND
Europe outside France | 1028 | 614 | 1032.96 | 620.2254
Brazil | 824 | 824 | 1085.2 | 1085.2
Chile | 175 | 88 | 175 | 87.5 | 4565700% |  | 4602200%
LATAM | 999 | 912 | 1260.2 | 1172.7
China | 499 | 359 | 654.3 | 514.305 | Gross | Net | Gross | Net
India | 571 | 459 | 601.4 | 488.74 | 2148 | 807.1147 | 2380.8 | 873.0769
Asia Pacific | 1071 | 818 | 1255.7 | 1003.045
South Africa | 145 | 74 | 291.125 | 145.475
Saudi Arabia | 426 | 152 | 425.7 | 151.9749
Morocco | 187 | 84 | 187 | 83.93
Middle East - Africa | 758 | 310 | 903.825 | 381.3799 | SOLAR
Total onshore wind | 10363 | 7888 | 10954.545 | 8474.6765
Offshore wind |  |  |  |  | 4565700% |  | 4602200%
France | 977 | 414 | 1002 | 426.45
Belgium | 325 | 32 | 325.2 | 32.455 | Gross | Net | Gross | Net
UK | 344 | 99 | 551.6 | 151.5572 | 11456.77 | 6098.5328 | 13144.1262 | 7209.0437
Denmark | - | - | - | -
Europe outside France | 669 | 131 | 876.8 | 184.0122
China | 502 | 126 | 502 | 125.5
Asia Pacific | 502 | 126 | 502 | 125.5
Total offshore wind | 2148 | 670 | 2380.8 | 735.9622 | BIOMASS
Total wind | 12511 | 8559 | 13335.345 | 9210.6387
Solar |  |  |  |  | 4565700% |  | 4602200%
France | 923 | 920 | 1185.645 | 1182.495
USA | 2638 | 1572 | 2823.179 | 1755.7395 | Gross | Net | Gross | Net
Canada | 120 | 120 | 61.4 | 42.4 | 498.138 | 480.2944 | 513.72 | 496.01
Mexico | 61 | 42 | 119.6 | 119.6
North America | 2819 | 1734 | 3004.179 | 1917.7395
Ireland | 27 | 14 | 27 | 13.77
Greece | 172 | 156 | 209.09 | 189.389
UK | 221 | 113 | 292.777 | 149.3163 | GEOTHERMY
Europe outside France | 419 | 283 | 528.867 | 352.4752
Brazil | 399 | 399 | 398.525 | 398.525
Chili | 115 | 58 | 115 | 57.5 | 4565700% |  | 4602200%
LATAM | 514 | 456 | 513.525 | 456.025
India | 663 | 332 | 1053 | 526.5 | Gross | Net | Gross | Net
China | 311 | 311 | 318.5781 | 318.5781 | 1.5 | 0.88635 | 1.5 | 0.8864
Vietnam | 90 | 47 | 90.2 | 47.4902
Asia Pacific | 1065 | 690 | 1461.7781 | 892.5683
Israel | 616 | 366 | 724.9594 | 456.1993
UAE | 3165 | 590 | 3165.2 | 590.432
Egypt | 167 | 82 | 167.111 | 81.7 | HYDRO
Saudi Arabia | 388 | 133 | 388 | 133.084
Oman | - | - | 630 | 315 | 4565700% |  | 4602200%
Middle East - Africa | 4336 | 1171 | 5075.2704 | 1576.4152
Total solar | 10076 | 5254 | 11769.2645 | 6377.7183 | Net |  | Net
[5 empty] | 22739.5957 |  | 22738.9106
Biomass
Colombia | 0 | 0 | 25 | 25
Total Biomass | 0 | 0 | 25 | 25
Total | 22587 | 13813 | 25129.6095 | 15613.357 | TOTAL
Edison installed capacity by technology
[5 empty] | 4565700% |  | 4602200%
| 4565700% |  | 4602200% |  | Gross | Net | Gross | Net
| Gross | Net | Gross | Net | - | 39529.5087 | - | 41359.0437
Italy | 1069.8 | 530.2567 | 1117.43 | 553.7416
Total Onshore wind | 1069.8 | 530.2567 | 1117.43 | 553.7416
Spain | 47.2 | 45.9614 | 70.364 | 68.3725
Italy | 198 | 97.8696 | 323.9804 | 174.1064
Total Solar | 245.2 | 143.831 | 394.3444 | 242.4789
Italy | 3.978 | 3.8634 | 4.97 | 4.8293
Total Biomass | 3.978 | 3.8634 | 4.97 | 4.8293
Total | 1318.978 | 677.9512 | 1516.7444 | 801.0499
Luminus installed capacity by technology
| 4565700% |  | 4602200%
| Gross | Net | Gross | Net
Belgium | 775 | 456.039 | 830.9804 | 489.929
Total Onshore wind | 775 | 456.039 | 830.9804 | 489.929
Belgium | 0.328 | 0.22511 | 0.328 | 0.22478
Total Solar | 0.328 | 0.22511 | 0.328 | 0.22478
Total | 775.328 | 456.2641 | 831.3084 | 490.1538
EDF solutions solaires installed capacity by technology
| 4565700% |  | 4602200%
| Gross | Net | Gross | Net
France | 117 | 93.2 | 106.6929 | 84.7
Total Solar | 117 | 93.2 | 106.6929 | 84.7
Total | 117 | 93.2 | 106.6929 | 84.7
EDF PEI installed capacity by technology
| 4565700% |  | 4602200%
| Gross | Net | Gross | Net
France | 14 | 4.08 | 14 | 4.08
Total Onshore wind | 14 | 4.08 | 14 | 4.08
France | 4.8 | 1.63 | 4.8 | 1.63
Total Solar | 4.8 | 1.63 | 4.8 | 1.63
France | 210.72 | 210.72 | 210.72 | 210.72
Total Biomass | 210.72 | 210.72 | 210.72 | 210.72
Total | 229.52 | 216.43 | 229.52 | 216.43
SEI installed capacity by technology
| 4565700% |  | 4602200%
| Gross | Net | Gross | Net
France | 15.77 | 2.6222 | 14.7749 | 4.267
Total Solar | 15.77 | 2.6222 | 14.7749 | 4.267
Total | 15.77 | 2.6222 | 14.7749 | 4.267
EDF Energy installed capacity by technology
| 4565700% |  | 4602200%
| Gross(2) | Net | Gross(2) | Net
United Kingdom | 0 | 136.9532 | 0 | 136.9532
Total Onshore wind | 0 | 136.9532 | 0 | 136.9532
United Kingdom | 0 | 74.3647 | 0 | 74.3647
Total Offshore wind | 0 | 74.3647 | 0 | 74.3647
Total wind | 0 | 211.3179 | 0 | 211.3179
United Kingdom | 0 | 107 | 0 | 107
Total Solar | 0 | 107 | 0 | 107
Total | 0 | 318.3179 | 0 | 318.3179
EDF China Holding installed capacity by technology
| 4565700% |  | 4602200%
| Gross(3) | Net | Gross(3) | Net
China | 0 | 62.75 | 0 | 62.75
Total Offshore wind | 0 | 62.75 | 0 | 62.75
Total | 0 | 62.75 | 0 | 62.75
Other (incl. dedicated assets) installed capacity by technology
| 4565700% |  | 4602200%
| Gross | Net | Gross | Net
France | 7.9058 | 7.9058 | 6.15 | 1.9058
United Kingdom | 310 | 62 | 212 | 62
USA | 404 | 205.85 | 411.7 | 205.83
Canada | 224.5 | 112 | 224 | 112
Total Onshore wind | 947 | 387.7558 | 853.85 | 381.7358
France | 6 | 6.2495 | 6.2495 | 6.2495
USA | 512 | 289 | 242 | 117
Chile | 480 | 201 | 606 | 268
Total Solar | 998 | 496.2495 | 854.2495 | 391.2495
France | 248.44 | 242.961 | 238.03 | 232.7106
China | 35 | 22.75 | 35 | 22.75
Total Biomass | 283.44 | 265.711 | 273.03 | 255.4606
France | 1.5 | 0.88635 | 1.5 | 0.8864
Total Geothermy | 1.5 | 0.88635 | 1.5 | 0.8864
Total | 2229.94 | 1150.6026 | 1982.6295 | 1069.3323
Hydropower net installed capacity by country and subsidiary
| 4565700% |  | 4602200%
Italy | 947.5241 |  | 948.6256
Switzerland | 121.6318 |  | 121.6318
Edison | 1069.1809 |  | 1070.2574
Laos | 432 |  | 432
Nam Theun Power Company | 432 |  | 432
Belgium | 46.5311 |  | 46.5311
Luminus | 46.5311 |  | 46.5311
Brazil | 204.96 |  | 204.96
EDF Norte Flumnense (Sinop) | 204.96 |  | 204.96
France | 20328 |  | 20278.2462
Germany | 75.5 |  | 75.5
EDF | 20403.5 |  | 20353.7462
France | 451.67 |  | 451.671
SEI | 451.67 |  | 451.62
France | 11.7537 |  | 11.7449
Electricité de Strasbourg | 11.7537 |  | 11.7537
Cameroon(4) | 120 |  | 168
Nachtigal Hydro Power Company | 120 |  | 168
Total Group | 22739.5957 |  | 22738.9106
(1) Capacity attributed to EDF according to its ownership in the subsidiaries.
(2) EDF Energy fleets are co-owned with EDF power solutions SA. Gross capacities are included in the gross capacities of EDF power solutions SA.
(3) EDF China Holding fleets are co-owned with EDF power solutions SA. Gross capacities are included in the gross capacities of EDF power solutions SA.
(4) Gross capacity: 420 MW

## 4.Group power plants list
EDF group means of electricity generation list Detail by power plant at 31 Decembre 2025
Country | Company | Name | Technology | Gross capacity (MW) | Capacity consolidated(1) by EDF (MW) | Net capacity (MW) | Year of industrial commissioning (4) | EDF Stake (%) | Consolidation method(2) | Segment
Italy | Edison Rinnovabili SpA | Adelfia | Solar | 0.94 | 0.94 | 0.46586 | 2010 | 49.56% | FC | Italy
Belgium | Luminus | AGC Seneffe | Onshore Wind | 2.35 | 2.35 | 0.82253 | 2020 | 35% | FC | EDF power solutions
Italy | Elio Sicilia S.r.l. | Agira | Solar | 4.5 | 4.5 | 2.2302 | 2023 | 49.56% | FC | Italy
Italy | MF Energy S.r.l | Aidone | Solar | 41 | 41 | 20.3196 | 2023 | 49.56% | FC | Italy
Italy | Edison Next | Albizzate | CHP | 3.7 | 3.7 | 3.5953 | 2010 | 97.17% | FC | Italy
Italy | Edison Next | Alfasigma Pomezia | CHP | 2.42 | 2.42 | 2.3515 | 2014 | 97.17% | FC | Italy
Belgium | Luminus | Algist Bruggeman | Onshore Wind | 4.2 | 4.2 | 2.8825 | 2022 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Alken | Onshore Wind | 5.65 | 5.65 | 3.8776 | 2020 | 68.63% | FC | EDF power solutions
Italy | Edison Next Teleriscaldamento | Alpignano | CHP | 2.022 | 2.022 | 1.9648 | 2022 | 97.17% | FC | Italy
Italy | Edison SpA | Altomonte | CCGT | 762.8 | 762.8 | 741.2128 | 2006 | 97.17% | FC | Italy
Italy | Edison SpA | Altomonte | Solar | 3.298 | 3.298 | 3.2047 | 2008 | 97.17% | FC | Italy
Italy | Edison Next Teleriscaldamento | Alzano Lombardo | CHP | 2.02 | 2.02 | 1.9628 | 2021 | 97.17% | FC | Italy
Belgium | Luminus | Ampsin | Hydro | 9 | 9 | 6.1767 | 1965 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Andenne | Hydro | 7 | 7 | 4.8041 | 1980 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Andretta - Bisaccia | Onshore Wind | 70 | 70 | 34.6873 | 2005 | 49.56% | FC | Italy
Belgium | Luminus | Angleur PV | Solar | 0.14 | 0.13952 | 0.095753 | 2021 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Angleur TG31 | Gas | 25 | 25 | 17.1575 | 2013 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Angleur TG32 | Gas | 25 | 25 | 17.1575 | 2013 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Angleur TG41 | Gas | 64 | 64 | 43.9232 | 2016 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Angleur TG42 | Gas | 64 | 64 | 43.9232 | 2016 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Antwerpen (Evonik) | Onshore Wind | 3.4 | 3.4 | 2.3334 | 2013 | 68.63% | FC | EDF power solutions
France | EDF | Arrighi 1 | Fuel | 125 | 125 | 125 | 1998 | 100% | FC | France - Generation and supply activities
France | EDF | Arrighi 2 | Fuel | 129 | 129 | 129 | 2007 | 100% | FC | France - Generation and supply activities
France | EDF | Aston | Hydro | 104 | 104 | 104 | 1947 | 100% | FC | France - Generation and supply activities
France | EDF | Aussois | Hydro | 87 | 87 | 87 | 1950 | 100% | FC | France - Generation and supply activities
France | EDF | Auzat | Hydro | 54.86 | 54.86 | 54.86 | 1978 | 100% | FC | France - Generation and supply activities
France | EDF | Bancairon | Hydro | 52.22 | 52.22 | 52.22 | 1928 | 100% | FC | France - Generation and supply activities
Italy | Edison Next Teleriscaldamento | Barge | CHP | 0.6 | 0.6 | 0.58302 | 2022 | 97.17% | FC | Italy
Italy | Edison Rinnovabili SpA | Barletta | Onshore Wind | 10 | 10 | 4.956 | 2008 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Baselice | Onshore Wind | 12 | 12 | 5.9472 | 2014 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Battipaglia | Solar | 26.6 | 26.6 | 13.183 | 2025 | 49.56% | FC | Italy
France (Martinique) | EDF PEI | Bellefontaine B | Other thermal fossil | 210.72 | 210.72 | 210.72 | 2014 | 100% | FC | France - Regulated activities
France (Martinique) | EDF | Bellefontaine TAC | Fuel | 23 | 23 | 23 | nd | 100% | FC | France - Regulated activities
France | EDF | Belleville 1 | Nuclear | 1310 | 1310 | 1310 | 1988 | 100% | FC | France - Generation and supply activities
France | EDF | Belleville 2 | Nuclear | 1310 | 1310 | 1310 | 1989 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Benevento | Solar | 0.7406 | 0.7406 | 0.36702 | 2011 | 49.56% | FC | Italy
Belgium | Luminus | Beringen (Katoennatie) | Onshore Wind | 4 | 4 | 2.7452 | 2016 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Beringen (Madinvest) | Onshore Wind | 2 | 2 | 1.3726 | 2015 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Beringen Stad | Onshore Wind | 4.4 | 4.4 | 3.0197 | 2021 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Berloz I | Onshore Wind | 5.995 | 5.995 | 4.1144 | 2009 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Berloz II | Onshore Wind | 10 | 10 | 6.863 | 2015 | 68.63% | FC | EDF power solutions
Italy | Edison Next | Bertagni | CHP | 0.36 | 0.36 | 0.34981 | nd | 97.17% | FC | Italy
Belgium | Luminus | Bièvre | Onshore Wind | 14 | 14 | 9.6082 | 2010 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Bilzen/Genk | Onshore Wind | 2.3 | 2.3 | 1.5785 | 2014 | 68.63% | FC | EDF power solutions
France | EDF | Bissorte | Hydro | 76 | 76 | 76 | 1935 | 100% | FC | France - Generation and supply activities
France | EDF | Blayais 1 | Nuclear | 910 | 910 | 910 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Blayais 2 | Nuclear | 910 | 910 | 910 | 1983 | 100% | FC | France - Generation and supply activities
France | EDF | Blayais 3 | Nuclear | 910 | 910 | 910 | 1983 | 100% | FC | France - Generation and supply activities
France | EDF | Blayais 4 | Nuclear | 910 | 910 | 910 | 1983 | 100% | FC | France - Generation and supply activities
France | EDF | Blénod 5 | CCGT | 427 | 427 | 427 | 2011 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Bonorva | Onshore Wind | 74 | 74 | 36.6697 | 2012 | 49.56% | FC | Italy
France | EDF | Bort | Hydro | 233 | 233 | 233 | 1952 | 100% | FC | France - Generation and supply activities
France | EDF | Bouchain 7 | CCGT | 585 | 585 | 585 | 2016 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Bovino | Onshore Wind | 10 | 10 | 4.956 | 2012 | 49.56% | FC | Italy
France (Ile de la Réunion) | EDF | Bras de la Plaine | Hydro | 4.6 | 4.6 | 4.6 | nd | 100% | FC | France - Regulated activities
France | EDF | Brennilis 2 | Fuel | 85 | 85 | 85 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Brennilis 3 | Fuel | 85 | 85 | 85 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Brennilis 4 | Fuel | 134 | 134 | 134 | 1996 | 100% | FC | France - Generation and supply activities
France | EDF | Brommat | Hydro | 406 | 406 | 406 | 1933 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Brugge | Onshore Wind | 4.6 | 4.6 | 3.157 | 2018 | 68.63% | FC | EDF power solutions
France | EDF | Bugey 3 | Nuclear | 910 | 910 | 910 | 1979 | 100% | FC | France - Generation and supply activities
France | EDF | Bugey 4 | Nuclear | 880 | 880 | 880 | 1979 | 100% | FC | France - Generation and supply activities
France | EDF | Bugey 5 | Nuclear | 880 | 880 | 880 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Bugey 7 | Nuclear | 910 | 910 | 910 | 1979 | 100% | FC | France - Generation and supply activities
Italy | Edison Next Teleriscaldamento | Borgo San Dalmazzo | CHP | 2.02 | 2.02 | 1.9628 | 2025 | 97.17% | FC | Italy
Italy | Edison SpA | Bussi sul Tirino | CCGT | 117.6 | 117.6 | 114.2719 | 1995 | 97.17% | FC | Italy
Italy | Edison Green Gas | Caivano | Biomass | 1 | 0.998 | 0.9717 | 2020 | 97.17% | FC | Italy
Italy | Edison Rinnovabili SpA | Campetta | Solar | 0.99912 | 0.99912 | 0.49516 | 2011 | 49.56% | FC | Italy
Italy | Edison SpA | Candela | CCGT | 390.9 | 390.9 | 379.8375 | 2005 | 97.17% | FC | Italy
Italy | Edison Rinnovabili SpA | Carluva | Onshore Wind | 12 | 12 | 5.9472 | 2008 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Casamassima | Solar | 0.94 | 0.94 | 0.46586 | 2010 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Casanova | Solar | 0.99912 | 0.99912 | 0.49516 | 2011 | 49.56% | FC | Italy
Italy | REN 143 S.r.l. | Cascina Castellana | Solar | 9.14 | 9.14 | 4.5296 | 2024 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Cascina Disma | Solar | 6.2 | 6.2 | 3.0726 | 2023 | 49.56% | FC | Italy
Italy | REN 144 S.r.l. | Cascina Lombarda | Solar | 7 | 7 | 3.469 | 2024 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Cascina Richiesta | Solar | 9.9 | 9.9 | 4.9062 | 2024 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Cascina S. Angelo | Solar | 4.7 | 4.7 | 2.3292 | 2024 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Cascine Bianche | Solar | 1 | 1 | 0.49558 | 2011 | 49.56% | FC | Italy
Italy | Edison Next | Caserta - Marcianise | CHP | 5.125 | 5.125 | 4.98 | 2010 | 97.17% | FC | Italy
Italy | Edison Rinnovabili Spa | Casone Romano (IR) | Onshore Wind | 2.6 | 2.6 | 1.2886 | 2021 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Castiglione Messer Marino (IR1) | Onshore Wind | 39.6 | 39.6 | 19.6258 | 2018 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Castiglione Messer Marino (IR3) | Onshore Wind | 13.2 | 13.2 | 6.5372 | 2021 | 49.56% | FC | Italy
France | EDF | Castillon | Hydro | 50.98 | 50.98 | 50.98 | 1948 | 100% | FC | France - Generation and supply activities
France (Corse) | EDF | Castirla | Hydro | 32 | 32 | 32 | nd | 100% | FC | France - Regulated activities
France | EDF | Cattenom 1 | Nuclear | 1300 | 1300 | 1300 | 1987 | 100% | FC | France - Generation and supply activities
France | EDF | Cattenom 2 | Nuclear | 1300 | 1300 | 1300 | 1988 | 100% | FC | France - Generation and supply activities
France | EDF | Cattenom 3 | Nuclear | 1300 | 1300 | 1300 | 1991 | 100% | FC | France - Generation and supply activities
France | EDF | Cattenom 4 | Nuclear | 1300 | 1300 | 1300 | 1992 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | CBR Gent | Onshore Wind | 4.2 | 4.2 | 2.8786 | 2022 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Celle San Vito 1 | Onshore Wind | 3.15 | 3.15 | 1.5564 | 1999 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Celle San Vito 2 | Onshore Wind | 4.2 | 4.2 | 2.0768 | 2001 | 49.56% | FC | Italy
Chile | EDF Chile | CEME 1 | Solar | 401.108 | 0 | 200.554 | 2024 | 50% | EM | EDF power solutions
France (Mayotte) | Electricité de Mayotte | Centrale de Longoni | Fuel | 73.2 | 0 | 18.2927 | 2009-2015 | 24.99% | NC | France - Regulated activities
France (Mayotte) | Electricité de Mayotte | Centrale des Badamiers | Fuel | 34.7 | 0 | 8.6715 | 1992-1994 | 24.99% | NC | France - Regulated activities
France (Iles du Ponant) | EDF | Chausey | Fuel | 0.56 | 0.52 | 0.56 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili SpA | Chiaravalle 1 | Solar | 0.9036 | 0.9036 | 0.44782 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Chiaravalle 2 | Solar | 0.54 | 0.54 | 0.26762 | 2011 | 49.56% | FC | Italy
France | EDF | ChiNo B1 | Nuclear | 905 | 905 | 905 | 1984 | 100% | FC | France - Generation and supply activities
France | EDF | ChiNo B2 | Nuclear | 905 | 905 | 905 | 1984 | 100% | FC | France - Generation and supply activities
France | EDF | ChiNo B3 | Nuclear | 905 | 905 | 905 | 1987 | 100% | FC | France - Generation and supply activities
France | EDF | ChiNo B4 | Nuclear | 905 | 905 | 905 | 1988 | 100% | FC | France - Generation and supply activities
France | EDF | Chooz B1 | Nuclear | 1500 | 1500 | 1500 | 2000 | 100% | FC | France - Generation and supply activities
France | EDF | Chooz B2 | Nuclear | 1500 | 1500 | 1500 | 2000 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Ciney I | Onshore Wind | 20.4 | 20.4 | 13.9966 | 2011 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Ciney II | Onshore Wind | 3.2 | 3.2 | 2.1962 | 2016 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Ciney III | Onshore Wind | 2.2 | 2.2 | 1.506 | 2017 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Ciponte | Onshore Wind | 10 | 10 | 4.956 | 2008 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Cisterna di Latina | Solar | 3.0081 | 3.0081 | 1.4908 | 2011 | 49.56% | FC | Italy
France | EDF | Civaux 1 | Nuclear | 1495 | 1495 | 1495 | 2002 | 100% | FC | France - Generation and supply activities
France | EDF | Civaux 2 | Nuclear | 1495 | 1495 | 1495 | 2002 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Colas Feluy | Onshore Wind | 2.2 | 2.2 | 1.5099 | 2019 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Collemarco | Solar | 0.9974 | 0.9974 | 0.49431 | 2010 | 49.56% | FC | Italy
France | EDF | Combe d'Avrieux | Hydro | 123 | 123 | 123 | 1975 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Concordia 1 | Solar | 11.3 | 11.3 | 5.6003 | 2025 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Concordia 2 | Solar | 5 | 5 | 2.478 | 2025 | 49.56% | FC | Italy
France | EDF | Cordeac | Hydro | 57.4 | 57.4 | 57.4 | 1946 | 100% | FC | France - Generation and supply activities
France | EDF | Cordemais 4 | Coal | 580 | 580 | 580 | 1983 | 100% | FC | France - Generation and supply activities
France | EDF | Cordemais 5 | Coal | 580 | 580 | 580 | 1984 | 100% | FC | France - Generation and supply activities
France (Corse) | EDF | Corscia | Hydro | 12 | 12 | 12 | nd | 100% | FC | France - Regulated activities
France | EDF | Couesque | Hydro | 119 | 119 | 119 | 1950 | 100% | FC | France - Generation and supply activities
France | EDF | Cruas 1 | Nuclear | 915 | 915 | 915 | 1984 | 100% | FC | France - Generation and supply activities
France | EDF | Cruas 2 | Nuclear | 915 | 915 | 915 | 1984 | 100% | FC | France - Generation and supply activities
France | EDF | Cruas 3 | Nuclear | 915 | 915 | 915 | 1984 | 100% | FC | France - Generation and supply activities
France | EDF | Cruas 4 | Nuclear | 915 | 915 | 915 | 1985 | 100% | FC | France - Generation and supply activities
Italy | Edison Next | Cuneo Michelin | CHP | 22.7 | 22.7 | 22.0576 | 2024 | 97.17% | FC | Italy
France | EDF | Curbans | Hydro | 139 | 139 | 139 | 1966 | 100% | FC | France - Generation and supply activities
France | EDF | Cusset | Hydro | 62.9 | 62.9 | 62.9 | 1899 | 100% | FC | France - Generation and supply activities
France | EDF | Dampierre 1 | Nuclear | 890 | 890 | 890 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Dampierre 2 | Nuclear | 890 | 890 | 890 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Dampierre 3 | Nuclear | 890 | 890 | 890 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Dampierre 4 | Nuclear | 890 | 890 | 890 | 1981 | 100% | FC | France - Generation and supply activities
France (Guyane) | EDF | Dégrad des Cannes + Dégrad des Cannes TAC | Fuel | 76.6 | 76.6 | 76.6 | nd | 100% | FC | France - Regulated activities
Belgium | Luminus | Dendermonde | Onshore Wind | 2.3 | 2.3 | 1.5785 | 2014 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Dendermonde II | Onshore Wind | 2.3 | 2.3 | 1.5785 | 2017 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Dessel | Onshore Wind | 9.6 | 9.6 | 6.5885 | 2017 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Dinant/Yvoir | Onshore Wind | 12 | 12 | 8.2356 | 2007 | 68.63% | FC | EDF power solutions
France | EDF | Dirinon 1 | Fuel | 85 | 85 | 85 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Dirinon 2 | Fuel | 85 | 85 | 85 | 1981 | 100% | FC | France - Generation and supply activities
Italy | Edison Next Teleriscaldamento | District Heating (centrale Di Busca) turbine | Biomass | 0.99 | 0.99 | 0.96198 | 2020 | 97.17% | FC | Italy
France | EDF | Divers(3) | Hydro | 4559.99 | 4559.99 | 4559.99 | nd | 100% | FC | France - Generation and supply activities
France | EDF | Divers(3) | Hydro | 0 | 0 | 160 | nd | nd | EM | France - Generation and supply activities
Germany | EDF | Divers(3) | Hydro | 0 | 0 | 75.5 | nd | nd | EM | France - Generation and supply activities
Belgium | Luminus | Doel 4 | Nuclear | 105.9 | 105.9 | 72.6792 | 1985 | 68.63% | FC | EDF power solutions
China | Guohua Investment Jiangsu Dongtai offshore wind power | Dongtai IV (5) | Offshore Wind | 0 | 0 | 37.8 | 2019 | 12.5% | EM | Others
China | EDF power solutions SA | Dongtai IV (5) | Offshore Wind | 302 | 0 | 75.5 | 2019 | 25% | EM | EDF power solutions
China | Guohua Investment Jiangsu Dongtai offshore wind power | Dongtai V (5) | Offshore Wind | 0 | 0 | 25 | 2021 | 12.5% | EM | Others
China | EDF power solutions SA | Dongtai V (5) | Offshore Wind | 200 | 0 | 50 | 2021 | 25% | EM | EDF power solutions
Italy | Edison SpA | Dora | Solar | 0.344 | 0.344 | 0.33426 | 2010 | 97.17% | FC | Italy
Belgium | Luminus | Dow Corning Seneffe | Onshore Wind | 2.35 | 2.35 | 1.6089 | 2018 | 68.63% | FC | EDF power solutions
Italy | Edison Next Teleriscaldamento | Ecotermica Ciriè | CHP | 4.4 | 4.4 | 4.2755 | nd | 97.17% | FC | Italy
France | EDF PEI | EDF PEI | Solar | 4.8 | 0 | 1.63 | nd | nd | nd | France - Regulated activities
France | EDF PEI | EDF PEI | Onshore Wind | 14 | 0 | 4.08 | nd | nd | nd | France - Regulated activities
Italy | Edison Next Government | Edison Next Government | CHP | 41.44 | 41.44 | 40.2672 | nd | 97.17% | FC | Italy
Italy | Edison Next Recology | Edison Next Recology Melfi | Other thermal fossil | 7.3 | 7.3 | 7.0934 | 1999 | 97.17% | FC | Italy
Spain | Edison Next Spain | Edison Next Spain | Solar | 70.364 | 70.364 | 68.3727 |  | 97.17% | FC | Italy
Belgium | Luminus | Eeklo | Onshore Wind | 12.25 | 12.25 | 8.4072 | 2019 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Eeklo Vrouwestraat | Onshore Wind | 2.2 | 2.2 | 0.82655 | 2021 | 37.75% | FC | EDF power solutions
France | EDF | Eguzon | Hydro | 72.4 | 72.4 | 72.4 | 1926 | 100% | FC | France - Generation and supply activities
France | ES | Electricité de Strasbourg | Biomass | 10 | 10 | 4.5206 | 2016 | 45.21% | FC | France - Regulated activities
France | ES | Electricité de Strasbourg | Geothermy | 1.5 | 1 | 0.8864 | 2016 | 59.09% | FC | France - Regulated activities
France | ES | Electricité de Strasbourg | Solar | 0.49 | 0 | 0.15102 | nd | 31.01% | EM | France - Regulated activities
France | ES | Electricité de Strasbourg | Hydro | 0.4 | 0.4 | 0.3544 | 2019 | 88.6% | FC | France - Regulated activities
France | ES | Electricité de Strasbourg | Hydro | 33.87 | 0 | 11.3905 | nd | 33.63% | EM | France - Regulated activities
France | ES | Electricité de Strasbourg | Solar | 0.82 | 0.82 | 0.72652 | nd | 88.6% | FC | France - Regulated activities
France | ES | Electricité de Strasbourg | Onshore Wind | 6.15 | 0 | 1.9058 | nd | 31.02% | EM | France - Regulated activities
Italy | Eli Fraschetta spa | Eli Fraschetta | Biomass | 0.99 | 0.99 | 0.96198 |  | 97.17% | FC | Italy
France (Nouvelle Calédonie) | Enercal | Enercal | Solar | 8.8 | 0 | 7.9 | nd | 15.98% | NC | France - Regulated activities
France (Nouvelle Calédonie) | Enercal | Enercal | Hydro | 80.75 | 0 | 12.8878 | nd | 16% | NC | France - Regulated activities
France (Nouvelle Calédonie) | Enercal | Enercal | Coal | 110 | 0 | 17.6 | nd | 16% | NC | France - Regulated activities
France (Nouvelle Calédonie) | Enercal | Enercal | Fuel | 116.38 | 0 | 18.6208 | nd | 16% | NC | France - Regulated activities
Belgium | Luminus | EOC Evergem | Onshore Wind | 3.5 | 3.5 | 2.3982 | 2020 | 68.63% | FC | EDF power solutions
Italy | Edison Next | Ergom -Melfi | CHP | 4.52 | 4.52 | 4.3921 | 2011 | 97.17% | FC | Italy
Belgium | Luminus | Estaimpuis | Onshore Wind | 6.6 | 6.6 | 2.3062 | 2017 | 35% | FC | EDF power solutions
Belgium | Luminus | Estaimpuis Ipalle | Onshore Wind | 4.4 | 4.4 | 1.5362 | 2021 | 35% | FC | EDF power solutions
Belgium | Luminus | Evergem Nest | Onshore Wind | 3.6 | 3.6 | 1.2562 | 2023 | 35% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Faeto -Ampliamento | Onshore Wind | 12 | 12 | 5.9472 | 2005 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Faeto S.Vito Ciuccia | Onshore Wind | 14.4 | 14.4 | 7.1366 | 2002 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Faggiano | Solar | 0.9396 | 0.9396 | 0.46567 | 2011 | 49.56% | FC | Italy
United Kingdom | EDF Invest | Fallago | Onshore Wind | 144 | 0 | 43.2 | nd | 20% | EM | France - Generation and supply activities
United Kingdom | EDF Invest | Fenlands | Onshore Wind | 68 | 0 | 18.8 | nd | 20% | EM | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Fermo | Solar | 0.50149 | 0.50149 | 0.24853 | 2011 | 49.56% | FC | Italy
Belgium | Luminus | Fernelmont | Onshore Wind | 6.9 | 6.9 | 4.7355 | 2009 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Fernelmont II | Onshore Wind | 10.8 | 10.8 | 7.4082 | 2018 | 68.63% | FC | EDF power solutions
France | EDF | Fessenheim | Hydro | 175 | 175 | 175 | 1956 | 100% | FC | France - Generation and supply activities
France | EDF | Flamanville 1 | Nuclear | 1330 | 1330 | 1330 | 1986 | 100% | FC | France - Generation and supply activities
France | EDF | Flamanville 2 | Nuclear | 1330 | 1330 | 1330 | 1987 | 100% | FC | France - Generation and supply activities
France | EDF | Flamanville 3 | Nuclear | 1600 | 1600 | 1600 | 2026 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Fleurus | Onshore Wind | 21 | 21 | 7.3464 | 2025 | 35% | FC | EDF power solutions
Italy | Edison Next | Flint | CHP | 0.53 | 0.53 | 0.515 | 2020 | 97.17% | FC | Italy
Belgium | Luminus | Floreffe I | Onshore Wind | 16.1 | 16.1 | 11.0456 | 2010 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Floreffe II | Onshore Wind | 7.05 | 7.05 | 4.8384 | 2017 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Floriffoux | Hydro | 0.8 | 0.8 | 0.54904 | 1993 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Foiano - Piano del Casino | Onshore Wind | 9.6 | 9.6 | 4.7578 | 2001 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Foiano -Ampliamento | Onshore Wind | 17 | 17 | 8.4252 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Foiano -Toppo Grosso - M.te Barbato | Onshore Wind | 6.6 | 6.6 | 3.2663 | 2001 | 49.56% | FC | Italy
Spain | Edison Next Spain | Fompedraza | CHP | 4.2 | 4.2 | 4.0811 | 2001 | 97.17% | FC | Italy
Italy | Edison Rinnovabili Spa | Fraine | Onshore Wind | 9 | 9 | 4.4557 | 2002 | 49.56% | FC | Italy
Belgium | Luminus | Frameries | Onshore Wind | 8.4 | 8.4 | 2.9362 | 2022 | 35% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Fratta Todina | Solar | 0.9984 | 0.9984 | 0.49481 | 2011 | 49.56% | FC | Italy
Italy | Edison SpA | Friuli Venezia Giulia (30 plants) | Hydro | 136.3474 | 136.35 | 132.4887 | 1904-2017 | 97.17% | FC | Italy
China | Fuzhou Power Generation Co. | Fuzhou | Coal | 2000 | 0 | 980 | 2015 | 49% | EM | Others
Italy | New Solar White S.r.l | Galatina | Solar | 28.3 | 28.3 | 14.0255 | 2025 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Galatone | Solar | 0.8197 | 0.8197 | 0.40624 | 2009 | 49.56% | FC | Italy
France | EDF | Gavet | Hydro | 95.2 | 95.2 | 95.2 | 2020 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Geel-Laakdal | Onshore Wind | 5.28 | 5.28 | 3.6198 | 2018 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Geel-West | Onshore Wind | 11.4 | 11.4 | 7.8199 | 2019 | 68.63% | FC | EDF power solutions
Italy | Edison Next | Gelco | Solar | 1.15 | 1.15 | 1.1175 |  | 97.17% | FC | Italy
Italy | Edison Next | Gelco | CHP | 1.63 | 1.63 | 1.5839 | 2012 | 97.17% | FC | Italy
Belgium | Luminus | Gembloux Walhain | Onshore Wind | 9.4 | 9.4 | 9.3961 | 2016 | 100% | FC | EDF power solutions
France | EDF | Gennevilliers | Gas | 203 | 203 | 203 | 1992 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Gent ATS Langerbrugge | Onshore Wind | 4.5 | 4.5 | 3.0884 | 2023 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Gent Gadot | Onshore Wind | 4.2 | 4.2 | 1.4662 | 2022 | 35% | FC | EDF power solutions
Belgium | Luminus | Gent Ham PV | Solar | 0.027 | 0.027 | 0.01853 | 2011 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Gent Molymet | Onshore Wind | 3.9 | 3.9 | 1.3651 | 2022 | 35% | FC | EDF power solutions
France | EDF | Gerstheim | Hydro | 140.51 | 140.51 | 140.51 | 1967 | 100% | FC | France - Generation and supply activities
Italy | Edison Next | Gesm | CHP | 0.19 | 0.19 | 0.18462 | nd | 97.17% | FC | Italy
Belgium | Luminus | Ghislenghien | Onshore Wind | 4.6 | 4.6 | 1.6101 | 2019 | 35% | FC | EDF power solutions
Belgium | Luminus | Ghlin Baudour | Onshore Wind | 11.4 | 11.4 | 5.4563 | 2024 | 47.9% | FC | EDF power solutions
Belgium | Luminus | Ghlin Baudour 2 | Onshore Wind | 4.2 | 4.2 | 1.4662 | 2025 | 35% | FC | EDF power solutions
Belgium | Luminus | Ghlin De Bonte | Onshore Wind | 3 | 3 | 1.0462 | 2025 | 35% | FC | EDF power solutions
Belgium | Luminus | Ghlin H&M | Onshore Wind | 2.2 | 2.2 | 0.76615 | 2021 | 35% | FC | EDF power solutions
Belgium | Luminus | Gibecq | Onshore Wind | 2.2 | 2.2 | 0.76615 | 2022 | 35% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Giunchetto | Onshore Wind | 29.75 | 29.75 | 14.7394 | 2010 | 49.56% | FC | Italy
France | EDF | Golfech | Hydro | 69.66 | 69.66 | 69.66 | 1973 | 100% | FC | France - Generation and supply activities
France | EDF | Golfech 1 | Nuclear | 1310 | 1310 | 1310 | 1991 | 100% | FC | France - Generation and supply activities
France | EDF | Golfech 2 | Nuclear | 1310 | 1310 | 1310 | 1994 | 100% | FC | France - Generation and supply activities
France | EDF | Grand-Maison | Hydro | 1714.07 | 1714.07 | 1714.07 | 1985 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Grand-Malades | Hydro | 5 | 5 | 3.4315 | 1988 | 68.63% | FC | EDF power solutions
France | EDF | Grandval | Hydro | 74.1 | 74.1 | 74.1 | 1959 | 100% | FC | France - Generation and supply activities
France | EDF | Gravelines 1 | Nuclear | 910 | 910 | 910 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Gravelines 2 | Nuclear | 910 | 910 | 910 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Gravelines 3 | Nuclear | 910 | 910 | 910 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Gravelines 4 | Nuclear | 910 | 910 | 910 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Gravelines 5 | Nuclear | 910 | 910 | 910 | 1985 | 100% | FC | France - Generation and supply activities
France | EDF | Gravelines 6 | Nuclear | 910 | 910 | 910 | 1985 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Grobbendonk | Onshore Wind | 5.8 | 5.8 | 3.9767 | 2022 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Halle Barry Callebaut | Onshore Wind | 3.6 | 3.6 | 1.2562 | 2024 | 35% | FC | EDF power solutions
Belgium | Luminus | Ham GT00 | Gas | 39 | 39 | 26.7657 | 2019 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Ham GT31 | Gas | 58 | 58 | 39.8054 | 2012 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Ham GT32 | Gas | 58 | 58 | 39.8054 | 2012 | 68.63% | FC | EDF power solutions
Belgium | Luminus | HAM-CHP's | CHP | 9.8 | 9.8 | 6.7257 | 2014 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Hamme | Onshore Wind | 4.6 | 4.6 | 3.157 | 2011 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Hannut 1 | Onshore Wind | 16.8 | 16.8 | 11.526 | 2025 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Hannut 2 | Onshore Wind | 4.2 | 4.2 | 1.4662 | 2025 | 35% | FC | EDF power solutions
United Kingdom | EDF Energy | Hartlepool | Nuclear | 1185 | 1185 | 948 | 1983 | 80% | FC | United Kingdom
Italy | Edison Next | HAUPT PHARMA - Borgo San Michele di Latina | CHP | 2.004 | 2.004 | 1.9473 | 2014 | 97.17% | FC | Italy
Italy | Edison Next | HAUPT PHARMA | Solar | 1.137 | 1.137 | 1.1048 |  | 97.17% | FC | Italy
France | EDF | Hermillon | Hydro | 127.8 | 127.8 | 127.8 | 1974 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Héron | Onshore Wind | 7.5 | 7.5 | 5.1473 | 2017 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Héron II | Onshore Wind | 12.6 | 12.6 | 8.6474 | 2021 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Herstal NRB | Onshore Wind | 3 | 3 | 1.0462 | 2021 | 35% | FC | EDF power solutions
Belgium | Luminus | Herstal Safran | Onshore Wind | 1 | 1 | 0.6863 | 2023 | 68.63% | FC | EDF power solutions
United Kingdom | EDF Energy | Heysham 1 | Nuclear | 1060 | 1060 | 848 | 1983 | 80% | FC | United Kingdom
United Kingdom | EDF Energy | Heysham 2 | Nuclear | 1240 | 1240 | 992 | 1988 | 80% | FC | United Kingdom
Belgium | Luminus | Hydro Ghlin (former : SAPA Ghlin) | Onshore Wind | 2.2 | 2.2 | 1.506 | 2018 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Ieper | Onshore Wind | 4.6 | 4.6 | 3.157 | 2009 | 68.63% | FC | EDF power solutions
France (Iles du Ponant) | EDF | Ile de Sein | Fuel | 0.88 | 0.88 | 0.88 | nd | 100% | FC | France - Regulated activities
Canada | EDF Invest | Investissement éolien 1 Inc | Onshore Wind | 224 | 0 | 112 | nd | 50% | EM | France - Generation and supply activities
Italy | Edison Rinnovabili Spa | IR Montazzoli (IR8) | Onshore Wind | 31.5 | 31.5 | 15.6067 | 2025 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | IR Monteferrante (IR6) - Guado Confalone / Guado di Renzo | Onshore Wind | 22.5 | 22.5 | 11.1463 | 2025 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | IR Monteferrante (IR7) - Casone Franceschiello | Onshore Wind | 4.5 | 4.5 | 2.2255 | 2025 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | IR Roio del Sangro (IR5) | Onshore Wind | 22.5 | 22.5 | 11.1463 | 2025 | 49.56% | FC | Italy
Belgium | Luminus | Ivoz Ramet | Hydro | 10.4 | 10.4 | 7.1375 | 1954 | 68.63% | FC | EDF power solutions
Belgium | Luminus | IZEGEM | Gas | 20 | 20 | 13.726 | 1995 | 68.63% | FC | EDF power solutions
France (Guadeloupe) | EDF | Jarry Sud TAC | Fuel | 80 | 80 | 80 | nd | 100% | FC | France - Regulated activities
France | EDF | Jouques | Hydro | 71.5 | 71.5 | 71.5 | 1959 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Juprelle | Onshore Wind | 13.8 | 13.8 | 9.4671 | 2021 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Kallo - Katoennatie | Onshore Wind | 19.2 | 19.2 | 13.177 | 2017 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Kalmthout | Onshore Wind | 6.15 | 6.15 | 4.2169 | 2012 | 68.63% | FC | EDF power solutions
France | EDF | Kembs | Hydro | 162.14 | 162.14 | 162.14 | 1932 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Kluizendok I | Onshore Wind | 17.6154 | 17.6154 | 12.0856 | 2005 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Kluizendok II | Onshore Wind | 10.88 | 10.88 | 7.4669 | 2015 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Kortrijk (Evolis) | Onshore Wind | 8 | 8 | 5.4865 | 2009 | 68.63% | FC | EDF power solutions
France (Guyane) | EDF | Kourou TAC | Fuel | 40 | 40 | 40 | nd | 100% | FC | France - Regulated activities
Switzerland | Kraftwerke | Kraftwerke | Hydro | 626 | 0 | 121.6318 | nd | 19.43% | EM | Italy
France | EDF | L’Hospitalet | Hydro | 92.8 | 92.8 | 92.8 | 1960 | 100% | FC | France - Generation and supply activities
France | EDF | La Bathie | Hydro | 602 | 602 | 602 | 1960 | 100% | FC | France - Generation and supply activities
France | EDF | La Coche | Hydro | 384 | 384 | 384 | 1976 | 100% | FC | France - Generation and supply activities
France (Guadeloupe) | EDF | La Désirade | Fuel | 1.4 | 1.4 | 1.4 | nd | 100% | FC | France - Regulated activities
Italy | Edison Next | La Mandria | Hydro | 1.5 | 1.5 | 1.4575 | 1948 | 97.17% | FC | Italy
France | EDF | La Saussaz II | Hydro | 150 | 150 | 150 | 1973 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | La Toppa 1 | Onshore Wind | 54 | 54 | 26.7577 | 2012 | 49.56% | FC | Italy
Italy | Cerbis Srl | La Toppa 2 | Onshore Wind | 12 | 12 | 5.9472 | 2012 | 49.56% | FC | Italy
France | EDF | L'Aigle | Hydro | 360 | 360 | 360 | 1945 | 100% | FC | France - Generation and supply activities
France (Ile de la Réunion) | EDF | Langevin | Hydro | 3.6 | 3.6 | 3.6 | nd | 100% | FC | France - Regulated activities
Italy | Edison Next | Latina | Solar | 0.97 | 0.97 | 0.94255 | 2011 | 97.17% | FC | Italy
France | EDF | Laval-de-Cere II | Hydro | 95.7 | 95.7 | 95.7 | 1967 | 100% | FC | France - Generation and supply activities
France | EDF | Le Chastang | Hydro | 293 | 293 | 293 | 1951 | 100% | FC | France - Generation and supply activities
France | EDF | Le Cheylas | Hydro | 485 | 485 | 485 | 1979 | 100% | FC | France - Generation and supply activities
France | EDF | Le Pouget | Hydro | 441.5 | 441.5 | 441.5 | 1951 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Le Roeulx | Onshore Wind | 2.3 | 2.3 | 0.80503 | 2019 | 35% | FC | EDF power solutions
Belgium | Luminus | Le Roeulx 2 | Onshore Wind | 7.2 | 7.2 | 2.5162 | 2024 | 35% | FC | EDF power solutions
France | EDF | Le Sautet | Hydro | 76.5 | 76.5 | 76.5 | 1935 | 100% | FC | France - Generation and supply activities
France (Corse) | EDF | Le Vazzio | Fuel | 148.4 | 148.4 | 148.4 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili SpA | Lecce 1 | Solar | 0.9693 | 0.9693 | 0.48039 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Lecce 2 | Solar | 0.97092 | 0.97092 | 0.48119 | 2011 | 49.56% | FC | Italy
France | EDF | Les Brévières | Hydro | 96 | 96 | 96 | 1952 | 100% | FC | France - Generation and supply activities
France (Guadeloupe) | EDF | Les Saintes | Fuel | 1.5 | 1.5 | 1.5 | nd | 100% | FC | France - Regulated activities
Belgium | Luminus | Leuze Europe | Onshore Wind | 4.1 | 4.1 | 1.4072 | 2011 | 34.32% | FC | EDF power solutions
Belgium | Luminus | Leuze II | Onshore Wind | 10.8 | 10.8 | 3.7763 | 2020 | 35% | FC | EDF power solutions
Belgium | Luminus | Leuze-en-Hainaut | Onshore Wind | 20.7 | 20.7 | 7.2453 | 2013 | 35% | FC | EDF power solutions
Belgium | Luminus | Lierneux | Onshore Wind | 19.2 | 19.2 | 13.177 | 2018 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Liernu | Onshore Wind | 7.5 | 7.5 | 2.6251 | 2023 | 35% | FC | EDF power solutions
China | Lingbao | Lingbao | Biomass | 35 | 35 | 22.75 | 2020 | 65% | FC | Others
Belgium | Luminus | Lixhe | Hydro | 16.1 | 16.1 | 11.0494 | 1980 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Lochristi | Onshore Wind | 7.05 | 7.05 | 4.8384 | 2017 | 68.63% | FC | EDF power solutions
Italy | Edison SpA | Lombardia (30 plants) | Hydro | 625.397 | 625.4 | 607.6983 | 1905-2019 | 97.17% | FC | Italy
Belgium | Luminus | Lommel | Onshore Wind | 17.25 | 17.25 | 11.8387 | 2020 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Loreo | Solar | 12.68 | 12.68 | 6.2842 | 2010 | 49.56% | FC | Italy
Chile | EDF Chile | Los Vientos | Gas | 132 | 0 | 66 | 2007 | 50% | EM | EDF power solutions
France (Corse) | EDF PEI | Lucciana B | Other thermal fossil | 112 | 112 | 112 | 2014 | 100% | FC | France - Regulated activities
France (Corse) | EDF | Lucciana TAC | Fuel | 104 | 104 | 104 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili Spa | Lucito | Onshore Wind | 34 | 34 | 16.8457 | 2008 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Lugnano 2 | Solar | 0.9072 | 0.9072 | 0.44961 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Lugnano 3 | Solar | 0.9936 | 0.9936 | 0.49243 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Lugnano in Teverina | Solar | 0.99743 | 0.99743 | 0.49432 | 2010 | 49.56% | FC | Italy
Belgium | Luminus | Lummen | Onshore Wind | 10 | 10 | 6.8591 | 2014 | 68.63% | FC | EDF power solutions
France | EDF | Luz | Hydro | 74.57 | 74.57 | 74.57 | 1927 | 100% | FC | France - Generation and supply activities
France | EDF | Malgovert | Hydro | 303 | 303 | 303 | 1953 | 100% | FC | France - Generation and supply activities
France | EDF | Mallemort | Hydro | 98.8 | 98.8 | 98.8 | 1971 | 100% | FC | France - Generation and supply activities
Oman | EDF power solutions | Manah | Solar | 630 | 0 | 315 | nd | nd | FC | EDF power solutions
France | EDF | Marckolsheim | Hydro | 176.88 | 176.88 | 176.88 | 1961 | 100% | FC | France - Generation and supply activities
Italy | Edison SpA | Marghera Azotati | CCGT | 237.1 | 237.1 | 230.3901 | 1993 | 97.17% | FC | Italy
Italy | Edison SpA | Marghera Levante | CCGT | 1120.3 | 1120.3 | 1088.5955 | 1992 | 97.17% | FC | Italy
France (Guadeloupe) | EDF | Marie Galante | Fuel | 5.8 | 5.8 | 5.8 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili SpA | Marrubiu 1 | Solar | 4.3 | 4.3 | 2.1311 | 2010 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Marrubiu 2 | Solar | 3.4 | 3.4 | 1.685 | 2011 | 49.56% | FC | Italy
France | EDF | Martigues 5 | CCGT | 465 | 465 | 465 | 2012 | 100% | FC | France - Generation and supply activities
France | EDF | Martigues 6 | CCGT | 465 | 465 | 465 | 2013 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili Spa | Mazara del Vallo | Onshore Wind | 15 | 15 | 7.4293 | 2019 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Mazara del Vallo 2 | Onshore Wind | 28.8 | 28.8 | 14.2686 | 2022 | 49.56% | FC | Italy
Italy | Edison Next | Mediglia | Solar | 0.88 | 0.88 | 0.8551 | 2011 | 97.17% | FC | Italy
Belgium | Luminus | Meer-Hoogstraten | Onshore Wind | 9.6 | 9.6 | 6.5885 | 2016 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Melissa PESF | Onshore Wind | 24 | 24 | 11.8944 | 2010 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Melissa Strongoli | Onshore Wind | 50 | 50 | 24.78 | 2009 | 49.56% | FC | Italy
Belgium | Luminus | Melle | Onshore Wind | 6.9 | 6.9 | 4.7355 | 2010 | 68.63% | FC | EDF power solutions
France (St-Pierre et Miquelon) | EDF | Miquelon | Fuel | 4.2 | 4.1976 | 4.2 | nd | 100% | FC | France - Regulated activities
Italy | Edison Next | Mirafiori | Gas | 25.4 | 25.4 | 24.6812 | 2019 | 97.17% | FC | Italy
Italy | Edison Rinnovabili Spa | Mistretta | Onshore Wind | 30 | 30 | 14.868 | 2010 | 49.56% | FC | Italy
Belgium | Luminus | Mol | Onshore Wind | 6.9 | 6.9 | 4.7355 | 2016 | 68.63% | FC | EDF power solutions
France (Iles du Ponant) | EDF | Molène | Fuel | 0.832 | 0.86 | 0.832 | nd | 100% | FC | France - Regulated activities
Belgium | Luminus | Monsin | Hydro | 19.5 | 19.5 | 13.3829 | 1954 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Monsin PV | Solar | 0.161 | 0.161 | 0.11049 | 2016 | 68.63% | FC | EDF power solutions
France | EDF | Montahut | Hydro | 95 | 95 | 95 | 1966 | 100% | FC | France - Generation and supply activities
Italy | Edison SpA | Montalto | Solar | 0.384 | 0.384 | 0.37313 | 2010 | 97.17% | FC | Italy
Italy | Edison Rinnovabili Spa | Montefalcone | Onshore Wind | 15 | 15 | 7.434 | 2019 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Montemignaio | Onshore Wind | 1.8 | 1.8 | 0.89208 | 2001 | 49.56% | FC | Italy
France | EDF | Montereau 5 | Gas | 185 | 185 | 185 | 2010 | 100% | FC | France - Generation and supply activities
France | EDF | Montereau 6 | Gas | 185 | 185 | 185 | 2010 | 100% | FC | France - Generation and supply activities
France | EDF | Monteynard | Hydro | 366 | 366 | 366 | 1962 | 100% | FC | France - Generation and supply activities
France | EDF | Montezic | Hydro | 910 | 910 | 910 | 1982 | 100% | FC | France - Generation and supply activities
France | EDF | Montpezat | Hydro | 131.8 | 131.8 | 131.8 | 1954 | 100% | FC | France - Generation and supply activities
Italy | Edison Next | Monza | Solar | 1.35 | 1.35 | 1.3118 | 2011 | 97.17% | FC | Italy
Belgium | EDF power solutions SA | na | Offshore Wind | 325.2 | 0 | 32.455 | average : 2011 | na | FC | EDF power solutions
France | Dalkia | na | Gas | 836.23 | 836.23 | 835.7238 | na | 100% | FC | Dalkia
France | Dalkia | na | Fuel | 176.05 | 176.05 | 175.9314 | na | 100% | FC | Dalkia
France | Dalkia | na | Biomass | 228.03 | 228.03 | 227.8932 | na | 100% | FC | Dalkia
France | Dalkia | na | Solar | 5.8265 | 5.83 | 5.8265 | na | 100% | FC | Dalkia
Poland | Dalkia | na | Gas | 7.5 | 7.5 | 7.5 | na | 100% | FC | Dalkia
Poland | Dalkia | na | CHP | 21.7 | 21.7 | 21.7 | na | 100% | FC | Dalkia
Brazil | EDF power solutions | na | Onshore Wind | 1085.2 | 1085.2 | 1085.2 | average : 2020 | na | FC | EDF power solutions
Brazil | EDF power solutions | na | Solar | 398.525 | 398.525 | 398.525 | average : 2017 | na | FC | EDF power solutions
Canada | EDF power solutions | na | Onshore Wind | 807.39 | 767.39 | 599.09 | average : 2015 | na | FC | EDF power solutions
Canada | EDF power solutions | na | Solar | 61.4 | 61.4 | 42.4 | average : 2014 | na | FC | EDF power solutions
Chile | EDF power solutions | na | Onshore Wind | 175 | 0 | 87.5 | average : 2020 | na | FC | EDF power solutions
Chile | EDF power solutions | na | Solar | 115 | 0 | 57.5 | average : 2018 | na | FC | EDF power solutions
China | EDF power solutions | na | Solar | 318.5781 | 318.5781 | 318.5781 | average : 2021 | na | FC | EDF power solutions
China | EDF power solutions | na | Onshore Wind | 654.3 | 384.3 | 514.305 | 2021 | na | FC | EDF power solutions
Egypt | EDF power solutions | na | Solar | 167.111 | 0 | 81.7 | average : 2018 | na | FC | EDF power solutions
France | EDF power solutions SA | na | Offshore Wind | 1002 | 0 | 426.45 | average : 2023 | na | FC | EDF power solutions
France | EDF power solutions | na | Onshore Wind | 1396.82 | 1076.62 | 1180.5334 | average : 2014 | na | FC | EDF power solutions
France | Futuren | na | Onshore Wind | 446.55 | 446.55 | 446.5428 | average : 2014 | na | FC | EDF power solutions
France | Luxel | na | Solar | 304.117 | 299.617 | 300.967 | average : 2023 | na | FC | EDF power solutions
France | EDF power solutions | na | Solar | 881.528 | 881.528 | 881.528 | average : 2018 | na | FC | EDF power solutions
Germany | EDF power solutions | na | Onshore Wind | 77.1 | 77.1 | 77.1 | average : 2006 | na | FC | EDF power solutions
Greece | EDF power solutions | na | Onshore Wind | 264.45 | 209.35 | 238.2007 | average : 2009 | na | FC | EDF power solutions
Greece | EDF power solutions | na | Solar | 209.09 | 209.09 | 189.389 | average : 2016 | na | FC | EDF power solutions
India | EDF power solutions | na | Onshore Wind | 601.4 | 437.4 | 488.74 | average : 2018 | na | FC | EDF power solutions
Germany | Futuren | na | Onshore Wind | 91.95 | 90.45 | 91.17 | average : 2005 | na | FC | EDF power solutions
India | EDF power solutions | na | Solar | 1053 | 0 | 526.5 | average : 2018 | na | FC | EDF power solutions
Ireland | EDF power solutions | na | Solar | 27 | 27 | 13.77 | average : 2022 | na | FC | EDF power solutions
Israël | EDF power solutions | na | Solar | 724.9594 | 599.1194 | 456.1993 | average : 2019 | na | FC | EDF power solutions
Mexico | EDF power solutions | na | Onshore Wind | 324 | 0 | 162 | average : 2013 | na | FC | EDF power solutions
Mexico | EDF power solutions | na | Solar | 119.6 | 119.6 | 119.6 | average : 2018 | na | FC | EDF power solutions
Morocco | EDF power solutions | na | Onshore Wind | 187 | 0 | 83.93 | average : 2022 | na | FC | EDF power solutions
Poland | EDF power solutions | na | Onshore Wind | 68 | 68 | 68 | average : 2021 | na | FC | EDF power solutions
Saudi Arabia | EDF power solutions | na | Onshore Wind | 425.7 | 0 | 151.9749 | average : 2021 | na | FC | EDF power solutions
Saudi Arabia | EDF power solutions | na | Solar | 388 | 0 | 133.084 | average : 2023 | na | FC | EDF power solutions
South Africa | EDF power solutions | na | Onshore Wind | 291.125 | 145.125 | 145.475 | average : 2017 | na | FC | EDF power solutions
UAE | EDF power solutions | na | Solar | 3165.2 | 0 | 590.432 | average : 2020 | na | FC | EDF power solutions
United Kingdom | EDF power solutions SA | na | Offshore Wind | 551.6 | 103.6 | 151.5572 | average : 2015 | na | FC | EDF power solutions
United Kingdom | EDF power solutions | na | Onshore Wind | 531.46 | 531.46 | 145.7547 | average : 2011 | na | FC | EDF power solutions
United Kingdom | EDF power solutions | na | Solar | 292.777 | 292.777 | 149.3163 | average : 2023 | na | FC | EDF power solutions
USA | EDF power solutions | na | Onshore Wind | 3527.1 | 2433.7 | 2909.16 | average : 2015 | na | FC | EDF power solutions
USA | EDF power solutions | na | Solar | 2823.179 | 688.3 | 1755.7395 | average : 2021 | na | FC | EDF power solutions
Vietnam | EDF power solutions | na | Solar | 90.2 | 90.2 | 47.4912 | average : 2021 | na | FC | EDF power solutions
Cameroon | Nachtigal | Nachtigal | Hydro | 420 | 0 | 168 | 2025 | 40% | EM | EDF power solutions
Laos | Nam Theun 2 | Nam Theun 2 | Hydro | 1080 | 0 | 432 | 2010 | 40% | EM | Others
France | EDF | nd | Biomass | 0 | 0 | 0.16 | nd | 100% | FC | France - Regulated activities
France | EDF | Nentilla | Hydro | 54 | 54 | 54 | 1953 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Nivelles | Onshore Wind | 2.35 | 2.35 | 1.6089 | 2020 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Nives | Onshore Wind | 11.12 | 11.12 | 7.6278 | 2021 | 68.63% | FC | EDF power solutions
France | EDF | Nogent 1 | Nuclear | 1310 | 1310 | 1310 | 1988 | 100% | FC | France - Generation and supply activities
France | EDF | Nogent 2 | Nuclear | 1310 | 1310 | 1310 | 1989 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Noicattaro | Solar | 0.94622 | 0.94622 | 0.46895 | 2011 | 49.56% | FC | Italy
Brazil | EDF Norte Fluminense | Norte Fluminense | CCGT | 826.8 | 826.8 | 826.8 | 2004 | 100% | FC | EDF power solutions
Belgium | Luminus | Novartis Puurs | Onshore Wind | 3.6 | 3.6 | 2.4668 | 2025 | 68.63% | FC | EDF power solutions
Chile | EDF Chile | Nueva Renca | CCGT | 379 | 0 | 189.5 | 1998 | 50% | EM | EDF power solutions
Italy | Edison Rinnovabili SpA | Nurri | Onshore Wind | 22.1 | 22.1 | 10.9528 | 2004 | 49.56% | FC | Italy
France (Corse) | EDF | Ocana | Hydro | 16.5 | 16.5 | 16.5 | nd | 100% | FC | France - Regulated activities
Belgium | Luminus | Oevel | Onshore Wind | 3.2 | 3.2 | 2.1962 | 2015 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Olen (WIA) | Onshore Wind | 4.6 | 4.6 | 3.157 | 2016 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Olen-Geel | Onshore Wind | 13.8 | 13.8 | 9.4671 | 2014 | 68.63% | FC | EDF power solutions
France | EDF | Oraison | Hydro | 187.52 | 187 | 187.52 | 1962 | 100% | FC | France - Generation and supply activities
France | EDF | Orelle | Hydro | 71.68 | 71.68 | 71.68 | 1970 | 100% | FC | France - Generation and supply activities
France | EDF | Orlu | Hydro | 88.8 | 88.8 | 88.8 | 1958 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili Spa | Orsara di Puglia | Onshore Wind | 18 | 18 | 8.9208 | 2001 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Ostra | Solar | 0.904 | 0.904 | 0.44802 | 2011 | 49.56% | FC | Italy
France | EDF | Ottmarsheim | Hydro | 156.5 | 156.5 | 156.5 | 1952 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Oud Turnhout | Onshore Wind | 8.4 | 8.4 | 4.6125 | 2025 | 54.91% | FC | EDF power solutions
France (Iles du Ponant) | EDF | Ouessant | Fuel | 4.35 | 4.79 | 4.35 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili Spa | Oviglio | Solar | 3 | 3 | 1.4868 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Palagianello | Solar | 0.9396 | 0.9396 | 0.46567 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Palagiano | Solar | 0.9396 | 0.9396 | 0.46567 | 2011 | 49.56% | FC | Italy
France | EDF | Paluel 1 | Nuclear | 1330 | 1330 | 1330 | 1985 | 100% | FC | France - Generation and supply activities
France | EDF | Paluel 2 | Nuclear | 1330 | 1330 | 1330 | 1985 | 100% | FC | France - Generation and supply activities
France | EDF | Paluel 3 | Nuclear | 1330 | 1330 | 1330 | 1986 | 100% | FC | France - Generation and supply activities
France | EDF | Paluel 4 | Nuclear | 1330 | 1330 | 1330 | 1986 | 100% | FC | France - Generation and supply activities
France | EDF | Passy | Hydro | 104 | 104 | 104 | 1951 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Pecq | Onshore Wind | 2.35 | 2.35 | 0.81866 | 2020 | 35% | FC | EDF power solutions
France | EDF | Penly 1 | Nuclear | 1330 | 1330 | 1330 | 1990 | 100% | FC | France - Generation and supply activities
France | EDF | Penly 2 | Nuclear | 1330 | 1330 | 1330 | 1992 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Péruwelz Moulins Saint Roch | Onshore Wind | 8 | 8 | 2.8001 | 2021 | 35% | FC | EDF power solutions
Belgium | Luminus | Péruwelz Polaris | Onshore Wind | 4.7 | 4.7 | 1.6451 | 2021 | 35% | FC | EDF power solutions
France (Guyane) | EDF | Petit-Saut | Hydro | 100 | 100 | 100 | nd | 100% | FC | France - Regulated activities
France | EDF | Peyrat-le-Château | Hydro | 60.5 | 60.5 | 60.5 | 1951 | 100% | FC | France - Generation and supply activities
Italy | Edison Next Teleriscaldamento | Photovoltaic Busca | Solar | 0.1 | 0.1 | 0.09717 |  | 97.17% | FC | Italy
Italy | Edison Next Environment | Photovoltaic Caivano | Solar | 0.199 | 0.2 | 0.19337 |  | 97.17% | FC | Italy
Italy | Edison Next | Photovoltaic Brescia | Solar | 4.43 | 4.43 | 4.3046 |  | 97.17% | FC | Italy
Italy | Edison Next | Photovoltaic Cassino (self- consumption) | Solar | 2.95 | 2.95 | 2.8665 | 2022 | 97.17% | FC | Italy
Italy | Edison Next | Photovoltaic FV GE Avio Brindisi | Solar | 0.994 | 0.994 | 0.96587 |  | 97.17% | FC | Italy
Italy | Edison Next | Photovoltaic Michelin Cuneo | Solar | 0 | 0 | 0 |  | 97.17% | FC | Italy
Italy | Edison Next | Photovoltaic ZML Maniago | Solar | 8.518 | 8.518 | 8.2769 |  | 97.17% | FC | Italy
Italy | Edison Next | Piave Maitex | CHP | 0.36 | 0.36 | 0.34981 | nd | 97.17% | FC | Italy
France | EDF | Pied-de-Borne | Hydro | 109.4 | 109.4 | 109.4 | 1965 | 100% | FC | France - Generation and supply activities
Italy | Edison SpA | Piedimonte | Solar | 1 | 0.999 | 0.9717 | 2011 | 97.17% | FC | Italy
Italy | Edison SpA | Piemonte (44 plants) | Hydro | 92.67 | 92.67 | 90.0474 | 1922-2020 | 97.17% | FC | Italy
Italy | Edison Rinnovabili SpA | Piossasco | Solar | 4.6 | 4.6 | 2.2798 | 2023 | 49.56% | FC | Italy
Italy | Edison Next | PLASTOTECNICA - Bagnoli di Sopra | CHP | 4.404 | 4.404 | 4.2794 | 2016 | 97.17% | FC | Italy
France (Guadeloupe) | EDF PEI | Pointe de Jarry | Other thermal fossil | 210.72 | 210.72 | 210.72 | 2015 | 100% | FC | France - Regulated activities
France (Martinique) | EDF | Pointe des Carrières + Pointe des Carrières TAC | Fuel | 103 | 103 | 103 | nd | 100% | FC | France - Regulated activities
France (Corse) | EDF | Pont de la Vanna | Hydro | 8.5 | 8.5 | 8.5 | nd | 100% | FC | France - Regulated activities
France | EDF | Pont-Escoffier | Hydro | 51.3 | 51.3 | 51.3 | 1944 | 100% | FC | France - Generation and supply activities
France (Ile de la Réunion) | EDF | Port Est | Fuel | 80 | 80 | 80 | nd | 100% | FC | France - Regulated activities
France (Ile de la Réunion) | EDF PEI | Port Est | Biomass | 210.72 | 210.72 | 210.72 | 2013 | 100% | FC | France - Regulated activities
France | EDF | Portillon | Hydro | 56.23 | 56.23 | 56.23 | 1941 | 100% | FC | France - Generation and supply activities
France | EDF | Pragneres | Hydro | 189.2 | 189.2 | 189.2 | 1954 | 100% | FC | France - Generation and supply activities
Italy | Edison SpA | Presenzano | CCGT | 755 | 755 | 733.6 | 2023 | 97.17% | FC | Italy
Italy | Edison Next Teleriscaldamento | Prometheus Energia | Biomass | 0.99 | 0.99 | 0.96198 | 2024 | 97.17% | FC | Italy
Belgium | Luminus | Puurs | Onshore Wind | 4.6 | 4.6 | 3.157 | 2016 | 68.63% | FC | EDF power solutions
United Kingdom | EDF Energy | PV | Solar | nd | nd | 107 | nd | nd | FC | United Kingdom
Italy | Edison SpA | Quassolo | Onshore Wind | 0.02 | 0.02 | 0.019434 | 2008 | 97.17% | FC | Italy
France | EDF | Rance | Marine energy | 240 | 240 | 240 | 1966 | 100% | FC | France - Generation and supply activities
France | EDF | Randens | Hydro | 124 | 124 | 124 | 1954 | 100% | FC | France - Generation and supply activities
USA | EDF Invest | Renewable Portfolio | Solar | 134.95 | 0 | 67.475 | nd | 50% | EM | France - Generation and supply activities
USA | EDF Invest | Renewable Portfolio | Onshore Wind | 211.7 | 0 | 105.83 | nd | 50% | EM | France - Generation and supply activities
France | EDF | Revin | Hydro | 800 | 800 | 800 | 1976 | 100% | FC | France - Generation and supply activities
France | EDF | Rhinau | Hydro | 170.15 | 170.15 | 170.15 | 1963 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Rieme-Noord | Onshore Wind | 10.24 | 10.24 | 7.0277 | 2016 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Rignano Garganico | Onshore Wind | 38 | 38 | 18.8328 | 2012 | 49.56% | FC | Italy
Belgium | Luminus | Ringvaart | CCGT | 375 | 375 | 257.3625 | 1997 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Ripabottoni | Onshore Wind | 15.84 | 15.84 | 7.8503 | 2005 | 49.56% | FC | Italy
France (Ile de la Réunion) | EDF | Rivière de l'Est | Hydro | 82 | 82 | 82 | nd | 100% | FC | France - Regulated activities
France (Corse) | EDF | Rizzanese | Hydro | 56.978 | 56.977 | 56.978 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili Spa | Roccaspinalveti (IR4) | Onshore Wind | 29.7 | 29.7 | 14.7193 | 2021 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Rocchetta S. Antonio | Onshore Wind | 5.25 | 5.25 | 2.6019 | 2000 | 49.56% | FC | Italy
Belgium | Luminus | Rounding | Onshore Wind | nd | 1.2096 | 0 | nd | nd | NC | EDF power solutions
Chile | EDF Chile | Rounding | Gas | nd | nd | -3.5 | nd | nd |  | EDF power solutions
France | EDF | Rounding | Solar | 0 | 0.099 | -3.633 | nd | 100% | FC | France - Regulated activities
France | EDF | Rounding | Fuel | nd | nd | -2.8119 | nd | 100% |  | France - Regulated activities
Italy | Edison SpA | Rounding | Hydro | nd | 0.03 | -3.2471 | nd | nd | nd | Italy
France | EDF | Rounding | Hydro | na | 0.86 | 3.5862 | na | 100% | FC | France - Generation and supply activities
Italy | Edison SpA | Rounding | Solar | nd | 3.195 | -0.4592 | nd | nd | nd | Italy
Italy | Edison Rinnovabili SpA | S.Eufizio | Solar | 0.49864 | 0.49864 | 0.24713 | 2011 | 49.56% | FC | Italy
France (Guadeloupe) | EDF | Saint-Barthélémy | Fuel | 32.1 | 32.1 | 32.1 | nd | 100% | FC | France - Regulated activities
France | EDF | Saint-Chamas | Hydro | 159 | 159 | 159 | 1966 | 100% | FC | France - Generation and supply activities
France | EDF | Sainte-Croix | Hydro | 132.27 | 132.27 | 132.27 | 1974 | 100% | FC | France - Generation and supply activities
France | EDF | Saint-Esteve | Hydro | 146 | 146 | 146 | 1963 | 100% | FC | France - Generation and supply activities
France | EDF | Saint-Etienne-Cantales | Hydro | 103.25 | 103.25 | 103.25 | 1945 | 100% | FC | France - Generation and supply activities
France | EDF | Sainte-Tulle 2 | Hydro | 51.23 | 51.23 | 51.23 | 1969 | 100% | FC | France - Generation and supply activities
France | EDF | Saint-Georges-de-Commiers | Hydro | 62.55 | 62.55 | 62.55 | 1964 | 100% | FC | France - Generation and supply activities
France | EDF | Saint-Guillerme II | Hydro | 116 | 116 | 116 | 1983 | 100% | FC | France - Generation and supply activities
France (Guadeloupe) | EDF | Saint-Martin | Fuel | 40.618 | 40.618 | 40.618 | nd | 100% | FC | France - Regulated activities
France | EDF | Saint-Martin-Vesubie | Hydro | 52.1 | 52.1 | 52.1 | 1960 | 100% | FC | France - Generation and supply activities
France | EDF | Saint-Pierre-Cognet | Hydro | 101 | 101 | 101 | 1957 | 100% | FC | France - Generation and supply activities
France | EDF | Salignac | Hydro | 78 | 78 | 78 | 1977 | 100% | FC | France - Generation and supply activities
France | EDF | Salon | Hydro | 96 | 96 | 96 | 1966 | 100% | FC | France - Generation and supply activities
France (Corse) | EDF | Sampolo | Hydro | 44.6 | 44.6 | 44.6 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili Spa | San Benedetto Val di Sambro | Onshore Wind | 3.4 | 3.4 | 1.685 | 1998 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | San Giorgio la Molara 2 | Onshore Wind | 35 | 35 | 17.346 | 2019 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | San Giorgio la Molara Polero | Onshore Wind | 54 | 54 | 26.7624 | 2011 | 49.56% | FC | Italy
China | DSPC | San Men Xia | Coal | 1260 | 0 | 441 | 2007 | 35% | EM | Others
Italy | Edison Rinnovabili SpA | San Pietro Vernotico 1 | Solar | 0.94 | 0.94 | 0.46586 | 2010 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | San Pietro Vernotico 2 | Solar | 0.94 | 0.94 | 0.46586 | 2010 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | San Pietro Vernotico 3 | Solar | 0.959 | 0.959 | 0.47528 | 2009 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | San Severo | Solar | 0.94 | 0.94 | 0.46586 | 2010 | 49.56% | FC | Italy
Chile | EDF Chile | Santa Lidia | Fuel | 139 | 0 | 70 | 2009 | 50% | EM | EDF power solutions
Italy | Edison Rinnovabili SpA | Santa Luce | Onshore Wind | 23.4 | 23.4 | 11.5965 | 2013 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Santa Sofia | Solar | 3.0008 | 3.0008 | 1.4871 | 2009 | 49.56% | FC | Italy
France | EDF | Sarrans | Hydro | 183 | 183 | 183 | 1934 | 100% | FC | France - Generation and supply activities
France (Guyane) | EDF | Saut-Maripa | Hydro | 1 | 1 | 1 | nd | 100% | FC | France - Regulated activities
Italy | Edison Next | Scarlino | CHP | 12.5 | 12.5 | 12.1463 | 2014 | 97.17% | FC | Italy
Italy | Edison Rinnovabili Spa | Schiavi d'Abruzzo (IR2) | Onshore Wind | 13.2 | 13.196 | 6.5419 | 2019 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Sella di Conza | Onshore Wind | 10.02 | 10.016 | 4.9659 | 2007 | 49.56% | FC | Italy
Belgium | Luminus | Seraing - GT1 | CCGT | 156 | 156 | 107.0628 | 1994 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Seraing - GT2 | CCGT | 156 | 156 | 107.0628 | 1994 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili Spa | Serra Carpaneto 2 | Onshore Wind | 8.8 | 8.796 | 4.3613 | 2025 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Serra Carpaneto 3 | Onshore Wind | 16 | 15.996 | 7.9296 | 2016 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Serra dei conti 1 | Solar | 0.7176 | 0.7176 | 0.35564 | 2011 | 49.56% | FC | Italy
France | EDF | Serre-Poncon | Hydro | 384 | 384 | 384 | 1960 | 100% | FC | France - Generation and supply activities
France (Guyane) | EDF | Several plants | Fuel | 10.3978 | 10.3978 | 10.3978 | nd | 100% | FC | France - Regulated activities
France | EDF solutions solaires | Several plants | Solar | 106.6929 | 42.7 | 84.7 | nd | nd | nd | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Sezzadio | Solar | 4.99 | 4.99 | 2.473 | 2025 | 49.56% | FC | Italy
Italy | Edison SpA | Simeri Crichi | CCGT | 826.1 | 826.1 | 802.7214 | 2007 | 97.17% | FC | Italy
Brazil | EDF Norte Fluminense | Sinop Energia | Hydro | 402 | 0 | 204.96 | 2019 | 50.99% | EM | EDF power solutions
Belgium | Luminus | Sint-Gillis Waas | Onshore Wind | 2.35 | 2.35 | 1.6128 | 2020 | 68.63% | FC | EDF power solutions
France | EDF | Sisteron | Hydro | 237.6 | 237.6 | 237.6 | 1975 | 100% | FC | France - Generation and supply activities
United Kingdom | EDF Energy | Sizewell B | Nuclear | 1198 | 1198 | 958.4 | 1995 | 80% | FC | United Kingdom
USA | EDF Invest | Solar Invest | Solar | 234 | 0 | 117.14 | nd | 50% | EM | France - Generation and supply activities
France (Corse) | EDF | Sovenzia | Hydro | 15 | 15 | 15 | nd | 100% | FC | France - Regulated activities
Belgium | Luminus | Spy | Onshore Wind | 6.8 | 6.8 | 4.6668 | 2014 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Spy 4&5 | Onshore Wind | 6 | 6 | 2.1001 | 2025 | 35% | FC | EDF power solutions
Belgium | Luminus | Spy Fri-Pharma | Onshore Wind | 2.2 | 2.2 | 1.5099 | 2018 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Spy II | Onshore Wind | 6.9 | 6.9 | 4.7355 | 2020 | 68.63% | FC | EDF power solutions
France | EDF | St Alban 1 | Nuclear | 1335 | 1335 | 1335 | 1986 | 100% | FC | France - Generation and supply activities
France | EDF | St Alban 2 | Nuclear | 1335 | 1335 | 1335 | 1987 | 100% | FC | France - Generation and supply activities
France | EDF | St Laurent 1 | Nuclear | 915 | 915 | 915 | 1983 | 100% | FC | France - Generation and supply activities
France | EDF | St Laurent 2 | Nuclear | 915 | 915 | 915 | 1983 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Stornarella | Solar | 0.9288 | 0.9288 | 0.46031 | 2010 | 49.56% | FC | Italy
France (St-Pierre et Miquelon) | EDF | St-Pierre | Fuel | 20.1667 | 20.1667 | 20.1667 | nd | 100% | FC | France - Regulated activities
Belgium | Luminus | Stradus | Onshore Wind | 3.4 | 3.4 | 2.3334 | 2013 | 68.63% | FC | EDF power solutions
France | EDF | Strasbourg | Hydro | 149.24 | 149.24 | 149.24 | 1969 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Strepy-Bracquegnies | Onshore Wind | 3 | 3 | 1.05 | 2022 | 35% | FC | EDF power solutions
Italy | Edison Next | Stura | Gas | 10 | 10 | 9.717 | 2000 | 97.17% | FC | Italy
France | EDF | Super-Bissorte | Hydro | 690 | 690 | 690 | 1987 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Supersano | Solar | 0.969 | 0.969 | 0.48024 | 2011 | 49.56% | FC | Italy
China | TNPJVC | Taishan 1 | Nuclear | 1750 | 0 | 525 | 2018 | 30% | EM | Others
China | TNPJVC | Taishan 2 | Nuclear | 1750 | 0 | 525 | 2019 | 30% | EM | Others
France (Ile de la Réunion) | EDF | Takamaka I & Tamaka II | Hydro | 41.874 | 41.873 | 41.873 | nd | 100% | FC | France - Regulated activities
Italy | Edison Rinnovabili SpA | Taranto | Solar | 0.958 | 0.958 | 0.47478 | 2012 | 49.56% | FC | Italy
Italy | Edison SpA | Tavagnasco | Onshore Wind | 0.02 | 0.016 | 0.019434 | 2006 | 97.17% | FC | Italy
Italy | Edison Rinnovabili Spa | Termoli | Solar | 1 | 1 | 0.4956 | 2011 | 49.56% | FC | Italy
Italy | Edison SpA | Terni | CCGT | 88.1 | 88.1 | 85.6068 | 2001 | 97.17% | FC | Italy
Italy | Edison Rinnovabili SpA | Terralba | Solar | 1.9 | 1.9 | 0.94164 | 2010 | 49.56% | FC | Italy
Belgium | Luminus | Tessenderlo | Onshore Wind | 14.35 | 14.35 | 9.8484 | 2015 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Thyssen Krupp 2 | Solar | 2.236 | 2.236 | 1.1082 | 2010 | 49.56% | FC | Italy
Belgium | Luminus | Tihange 3 | Nuclear | 105.8 | 105.8 | 72.6105 | 1985 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Tinlot | Onshore Wind | 10.35 | 10.35 | 7.1032 | 2020 | 68.63% | FC | EDF power solutions
France (Corse) | EDF | Tolla | Hydro | 20.1 | 20.1 | 20.1 | nd | 100% | FC | France - Regulated activities
United Kingdom | EDF Energy | Torness | Nuclear | 1200 | 1200 | 960 | 1988 | 80% | FC | United Kingdom
Italy | Edison Rinnovabili SpA | Torre Santa Susanna | Solar | 0.972 | 0.972 | 0.48172 | 2011 | 49.56% | FC | Italy
Italy | Edison SpA | Rounding | Gas | 2.543 | 2.543 | 2.5065 | nd | 97.17% | FC | Italy
Italy | Edison SpA | Torviscosa | CCGT | 830.2 | 830.2 | 806.7053 | 2006 | 97.17% | FC | Italy
Italy | Edison SpA | Toscana (2 plants) | Hydro | 27.87 | 27.87 | 27.0813 | 1935-1953 | 97.17% | FC | Italy
Belgium | Luminus | Tournai | Onshore Wind | 17.6 | 17.6 | 6.1602 | 2017 | 35% | FC | EDF power solutions
Belgium | Luminus | Tournai Gaurain | Onshore Wind | 2.2 | 2.2 | 0.77003 | 2023 | 35% | FC | EDF power solutions
Belgium | Luminus | Tournai Ouest 2 (Q8) | Onshore Wind | 3.6 | 3.6 | 1.26 | 2022 | 35% | FC | EDF power solutions
Italy | Edison SpA | Trentino (5 plants) | Hydro | 158.93 | 0 | 75.6666 | 1929-2004 | 47.61% | EM | Italy
France | EDF | Tricastin 1 | Nuclear | 915 | 915 | 915 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Tricastin 2 | Nuclear | 915 | 915 | 915 | 1980 | 100% | FC | France - Generation and supply activities
France | EDF | Tricastin 3 | Nuclear | 915 | 915 | 915 | 1981 | 100% | FC | France - Generation and supply activities
France | EDF | Tricastin 4 | Nuclear | 915 | 915 | 915 | 1981 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili Spa | Troia | Onshore Wind | 12.5 | 12.496 | 6.195 | 2019 | 49.56% | FC | Italy
Italy | TES Development S.r.l. | Tudia | Solar | 54.7 | 54.7 | 27.1093 | 2025 | 49.56% | FC | Italy
Belgium | Luminus | Turnhout | Onshore Wind | 11.5 | 11.5 | 7.8925 | 2020 | 68.63% | FC | EDF power solutions
Italy | Edison SpA | Umbria (1 plant) | Hydro | 4.91 | 4.9141 | 4.771 | 1970 | 97.17% | FC | Italy
Italy | Edison Rinnovabili SpA | Uras 1 | Solar | 1.944 | 1.944 | 0.96345 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Uras 2 | Solar | 2.88 | 2.88 | 1.4273 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Vaglio Ampliamento | Onshore Wind | 15 | 14.996 | 7.434 | 2019 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Vaglio IR | Onshore Wind | 20 | 19.996 | 9.912 | 2019 | 49.56% | FC | Italy
France | EDF | Vaires sur Marne 1 | Fuel | 181 | 181 | 181 | 2008 | 100% | FC | France - Generation and supply activities
France | EDF | Vaires sur Marne 2 | Fuel | 179 | 179 | 179 | 2008 | 100% | FC | France - Generation and supply activities
France | EDF | Vaires sur Marne 3 | Fuel | 182 | 182 | 182 | 2009 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili SpA | Valenza Groppella | Solar | 4.9 | 4.9 | 2.4284 | 2023 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Vallata | Onshore Wind | 48 | 47.996 | 23.7888 | 2011 | 49.56% | FC | Italy
Italy | Edison SpA | Valle d'Aosta (16 plants) | Hydro | 13.0306 | 13.0381 | 12.6618 | 2012-2019 | 97.17% | FC | Italy
Belgium | Luminus | Verlaine | Onshore Wind | 8.2 | 8.2 | 5.6277 | 2009 | 68.63% | FC | EDF power solutions
Italy | Edison Rinnovabili SpA | Vigne di Narni | Solar | 0.99355 | 0.99355 | 0.4924 | 2011 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Villacidro ASI A | Solar | 0.911 | 0.911 | 0.45149 | 2009 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Villacidro ASI B | Solar | 0.867 | 0.867 | 0.43 | 2009 | 49.56% | FC | Italy
Italy | Edison Rinnovabili SpA | Villacidro ASI C | Solar | 0.92 | 0.92 | 0.46 | 2009 | 49.56% | FC | Italy
Colombia | EDF Andes - Refoenergy | Villanueva | Biomass | 25 | 25 | 25 | 2025 | 100% | FC | EDF power solutions
France | EDF | Villarodin | Hydro | 358.6 | 358.6 | 358.6 | 1968 | 100% | FC | France - Generation and supply activities
France | EDF | Villerest | Hydro | 65.76 | 65.76 | 65.76 | 1984 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Villers 7 | Onshore Wind | 8.4 | 8.4 | 2.9401 | 2023 | 35% | FC | EDF power solutions
Belgium | Luminus | Villers IV | Onshore Wind | 44.85 | 44.85 | 15.6981 | 2019 | 35% | FC | EDF power solutions
Belgium | Luminus | Villers-le-Bouillet | Onshore Wind | 12 | 12 | 8.2356 | 2007 | 68.63% | FC | EDF power solutions
France | EDF | Vogelgrun | Hydro | 140.5 | 140.5 | 140.5 | 1959 | 100% | FC | France - Generation and supply activities
Italy | Edison Rinnovabili Spa | Volturara Motta Montecorvino | Onshore Wind | 11.4 | 11.396 | 5.6498 | 2001 | 49.56% | FC | Italy
Italy | Edison Rinnovabili Spa | Volturino | Onshore Wind | 13.08 | 13.08 | 6.4824 | 2004 | 49.56% | FC | Italy
France | EDF | Vouglans | Hydro | 285 | 285 | 285 | 1968 | 100% | FC | France - Generation and supply activities
Belgium | Luminus | Walcourt | Onshore Wind | 9 | 9 | 6.1767 | 2005 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Walcourt 2 | Onshore Wind | 7.2 | 7.2 | 4.9414 | 2024 | 68.63% | FC | EDF power solutions
United Kingdom | EDF Energy | Wind | Offshore Wind | nd | nd | 74.3647 |  |  |  | United Kingdom
United Kingdom | EDF Energy | Wind | Onshore Wind | nd | nd | 136.9532 | nd | nd | FC | United Kingdom
USA | EDF Invest | Wind Invest | Onshore Wind | 200 | 0 | 100 | nd | 50% | EM | France - Generation and supply activities
Belgium | Luminus | Zeebrugge | Onshore Wind | 3.45 | 3.45 | 2.3677 | 2018 | 68.63% | FC | EDF power solutions
Belgium | Luminus | Zelzate Jdn karnemelksite | Onshore Wind | 6.9 | 6.9 | 4.7355 | 2021 | 68.63% | FC | EDF power solutions
Italy | Edison Green Gas | Zinasco | Biomass | 1 | 1 | 0.9717 | 2020 | 97.17% | FC | Italy
Italy | Edison Green Gas | Zinasco | Solar | 1.696 | 1.696 | 1.648 | nd | 97.17% | FC | Italy
Poland | Dalkia | Rzeszów | Coal | 12 | 12 | 11.6604 | nd | 100% | FC | Dalkia
EM | Equity method |  | Total(6) | 145338.929 | 119819.2536 | 126031.6436
FC | Full consolidation
NC | Not consolidated
n/a | Not available
(1) The capacity consolidated by EDF power solutions SA is established as follows: - 0MW are consolidated for the power plants consolidated under the equity method within EDF solutions SA; - 100% of the gross capacity is consolidated for all other power plants. The capacity consolidated by EDF power solutions SA on a given geographical area can result from the application of different methods from one plant to the other within that area.
(2) Consolidation method at the closing date.
(3) Aggregate of power plants in France with a capacity of less than 50 MW.
(4) When grouped by country or region, the average year of industrial commisionning was weighted by the net MW.
(5) Dongtai IV et V are 37.5% owned by EDF (25% EDF power solutions SA and 12.5% EDF China). Gross capacities are included with EDF power solutions SA.
(6) The total does not include Flamanville 3 because it has not yet been commissioned. Its capacity is 1,600 MW.

## 5.Group output
EDF group electricity output in 2025
In GWh | Total | Nuclear | Hydropower(2) | Renewables (excl. hydro)(3) | Gas | Fuel oil | Coal
France - Generation and supply activities | 418803.5804 | 373027.6289 | 42599.5907 | 37.025 | 2707.8663 | 240.552 | 190.9176
France - Regulated activities(1) | 5751.7344 | 0 | 1068.1028 | 1266.482 | 0 | 3417.1496 | 0
EDF power solutions | 32832.9671 | 4174.834 | 180.592 | 27219.3711 | 1258.014 | 0.156 | 0
Dalkia | 2643.8061 | 0 | 0 | 1030.0602 | 1520.6485 | 93.0974 | 0
United Kingdom | 32917.6803 | 32917.6803 | 0 | 0 | 0 | 0 | 0
Italy | 22313.5878 | 0 | 2541.2886 | 2009.8861 | 17749.3038 | 13.1093 | 0
Other international(4) | 206 | 0 | 0 | 206 | 0 | 0 | 0
Group total | 515469.356 | 410120.1431 | 46389.574 | 31768.8244 | 23235.8326 | 3764.0642 | 190.9176
0
|  | 79.56% | 8.999% | 6.163% | 4.508% | 0.7302% | 0.03704%
(1) Power generation in non-interconnected zones (mainly island territories) and Electricité de Strasbourg (ES).
(2) The hydropower output takes into account the tidal energy (532GWh). Hydro output after deductions of pumped volumes is 37.9TWh in 2025.
(3) Wind, solar, biogas and biomass.
Fully consolidated electricity output
Nuclear
Gas
Renewables, excl. hydro
Hydro
Fuel oil
Coal
Group Total
515,5TWh
5%
6%
9%
80%
1%
95% of decarbonised generation

## 6.Group CO2 emissions
EDF group CO2 emissions(1)
Emissions from heat and power generation by segment (in ktCO2) |  |  | Carbon intensity from heat and power generation by segment (in gCO2/kWh)
| 2024 | 2025 |  | 2024 | 2025
France - Generation and supply activities | 1315 | 1518 | France - Generation and supply activities | 3 | 4
France – Non-interconnected zones(2) | 2792 | 2458 | France – Non-interconnected zones(2) | 453 | 418
Dalkia | 3188 | 2712 | Dalkia | 135 | 115
United Kingdom | 0 | 0 | United Kingdom | 0 | 0
Italy | 6053 | 7033 | Italy | 262 | 283
Belgium | 436 | 329 | Belgium | 55 | 50
Others | 2311 | 218 | Others | 54 | 6
Group Total(3) | 16096 | 14268 | Group Total(3) | 30 | 26.5
EDF group ambitions in CO2 emission reduction
Target: net zero CO2 emissions by 2050(4)
(1) Direct CO2 emissions, excluding life cycle analysis (LCA) of fuel and production means
(2) Power generation in non-interconnected zones corresponding to overseas departments and Corsica - (mainly island territories) and Electricité de Strasbourg (ES).
(3) Framatome and Arabelle Solutions contribute 40ktCO2 in 2025 and 33ktCO2 in 2024. EDF power solution, excluding Luminus, contributes to 178ktCO2 in 2025 and 2,278ktCO2 in 2024. The direct CO2 emissions from “Others” segment are not significant compared to Group total emissions and are not disclosed in this table.
(4) For the 3 scopes
(5) Vs 2017.
Carbon intensity (in gCO2/kWh)
Scope 1 emissions (in mtCO2)
CO2 emissions avoided by the customers (in mtCO2)

## Glossary & methodology
Glossary & Methodology
FC or Full | Full Consolidation
EM | Equity Method
n/a | not applicable
Consolidation of extra-financial data: Methodology
| FC | EM
Gross capacity | 100% | 100%
Net capacity for the Group | % of ownership | % of ownership
Consolidated capacity | 100% | 0